## mapping
SCADA Column | Enabled | SCADA Tag | Location | Parameter | SCADA Table | Description | Query Type | Total Method
1 | TRUE | S2110117FQIX055FR | 21BRBI01 | Flow Reading 1 | HIST23X_FR | BRB 1 Influent Flow 1 | Total | Today
2 | TRUE | S2110127FQIX055FR | 21BRBI02 | Flow Reading 1 | HIST23X_FR | BRB 2 Influent Flow 1 | Total | Today
3 | TRUE | S2110137FQIX055FR | 21BRBI03 | Flow Reading 1 | HIST23X_FR | BRB 3 Influent Flow 1 | Total | Today
4 | TRUE | S2110147FQIX055FR | 21BRBI04 | Flow Reading 1 | HIST22F_FR | BRB 4 Influent Flow 1 | Total | Today
5 | TRUE | S2110157FQIX055FR | 21BRBI05 | Flow Reading 1 | HIST22F_FR | BRB 5 Influent Flow 1 | Total | Today
6 | TRUE | S2110217FQIX055FR | 21BRBI01 | Flow Reading 2 | HIST23X_FR | BRB 1 Influent Flow 2 | Total | Today
7 | TRUE | S2110227FQIX055FR | 21BRBI02 | Flow Reading 2 | HIST23X_FR | BRB 2 Influent Flow 2 | Total | Today
8 | TRUE | S2110237FQIX055FR | 21BRBI03 | Flow Reading 2 | HIST23X_FR | BRB 3 Influent Flow 2 | Total | Today
9 | TRUE | S2110247FQIX055FR | 21BRBI04 | Flow Reading 2 | HIST22F_FR | BRB 4 Influent Flow 2 | Total | Today
10 | TRUE | S2110257FQIX055FR | 21BRBI05 | Flow Reading 2 | HIST22F_FR | BRB 5 Influent Flow 2 | Total | Today
11 | TRUE | S2520000FQIX055FR | 25RASP00 | SCADA Flow | HIST24X_FR | RAS Flow Total | Total | Today
12 | TRUE | S2520010FQIX055FR | 23SESL01 | SCADA Flow | HIST21N_F | SST1 Sludge Flow | Total | Today
13 | TRUE | S2520020FQIX055FR | 23SESL02 | SCADA Flow | HIST21N_F | SST2 Sludge Flow | Total | Today
14 | TRUE | S2520030FQIX055FR | 23SESL03 | SCADA Flow | HIST24X_FR | SST 3 Sludge Flow | Total | Today
15 | TRUE | S2520040FQIX055FR | 23SESL04 | SCADA Flow | HIST24X_FR | SST 4 Sludge Flow | Total | Today
16 | TRUE | S2520050FQIX055FR | 23SESL05 | SCADA Flow | HIST22F_FR | SST 5 Sludge Flow | Total | Today
17 | TRUE | S2542010FQIX055FR | 23SESL06 | SCADA Flow | HIST22F_FR | SST 6 Sludge Flow | Total | Today
18 | TRUE | S3130000FQIX055FR | 31TIFL00 | Flow Mgd | HIST31G_FR | Filter Influent Flow | Total | Today
19 | TRUE | S3311010FQIX055FR | 31TESL01 | Flow Mgd | HIST32G_FR | Tertiary Settling Tank No. 1 Sludge Flow | Total | Today
20 | TRUE | S3311020FQIX055FR | 31TESL02 | Flow Mgd | HIST32G_FR | Tertiary Settling Tank No. 2 Sludge Flow | Total | Today
21 | TRUE | S3311030FQIX055FR | 31TESL03 | Flow Mgd | HIST32G_FR | Tertiary Settling Tank No. 3 | Total | Today
22 | TRUE | S3311040FQIX055FR | 31TESL04 | Flow Mgd | HIST32G_FR | Tertiary Settling Tank No. 4 Sludge Flow | Total | Today
23 | TRUE | S3311050FQIX055FR | 31TESL05 | Flow Mgd | HIST32G_FR | Tertiary Settling Tank No. 5 Sludge Flow | Total | Today
24 | TRUE | S3311060FQIX055FR | 31TESL06 | Flow Mgd | HIST32G_FR | Tertiary Settling Tank No. 6 Sludge Flow | Total | Today
25 | TRUE | S3311070FQIX055FR | 31TESL07 | Flow Mgd | HIST32G_FR | Tertiary Settling Tank No. 7 Sludge Flow | Total | Today
26 | TRUE | S3311080FQIX055FR | 31TESL08 | Flow Mgd | HIST32G_FR | Tertiary Settling Tank No. 8 Sludge Flow | Total | Today
27 | TRUE | S3420000FQIX055FR | 34TERF00 | Flow Mgd | HIST32G_FR | Filter Effluent | Total | Today
28 | TRUE | S3430010AITX061FR | 34TERF01 | Max Turbidity | HIST31G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
29 | TRUE | S3430010AITX061FR | 34TERF01 | Ave Turbidity | HIST31G_FR | Tertiary Filters TurbAvg | Average | Yesterday
30 | TRUE | S3430020AITX061FR | 34TERF02 | Ave Turbidity | HIST31G_FR | Tertiary Filters TurbAvg | Average | Yesterday
31 | TRUE | S3430020AITX061FR | 34TERF02 | Max Turbidity | HIST31G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
32 | TRUE | S3430030AITX061FR | 34TERF03 | Max Turbidity | HIST31G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
33 | TRUE | S3430030AITX061FR | 34TERF03 | Ave Turbidity | HIST31G_FR | Tertiary Filters TurbAvg | Average | Yesterday
34 | TRUE | S3430040AITX061FR | 34TERF04 | Ave Turbidity | HIST31G_FR | Tertiary Filters TurbAvg | Average | Yesterday
35 | TRUE | S3430040AITX061FR | 34TERF04 | Max Turbidity | HIST31G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
36 | TRUE | S3430050AITX061FR | 34TERF05 | Ave Turbidity | HIST32G_FR | Tertiary Filters TurbAvg | Average | Yesterday
37 | TRUE | S3430050AITX061FR | 34TERF05 | Max Turbidity | HIST32G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
38 | TRUE | S3430060AITX061FR | 34TERF06 | Max Turbidity | HIST32G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
39 | TRUE | S3430060AITX061FR | 34TERF06 | Ave Turbidity | HIST32G_FR | Tertiary Filters TurbAvg | Average | Yesterday
40 | TRUE | S3430070AITX061FR | 34TERF07 | Max Turbidity | HIST32G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
41 | TRUE | S3430070AITX061FR | 34TERF07 | Ave Turbidity | HIST32G_FR | Tertiary Filters TurbAvg | Average | Yesterday
42 | TRUE | S3430080AITX061FR | 34TERF08 | Max Turbidity | HIST32G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
43 | TRUE | S3430080AITX061FR | 34TERF08 | Ave Turbidity | HIST32G_FR | Tertiary Filters TurbAvg | Average | Yesterday
44 | TRUE | S3430090AITX061FR | 34TERF09 | Max Turbidity | HIST33G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
45 | TRUE | S3430090AITX061FR | 34TERF09 | Ave Turbidity | HIST33G_FR | Tertiary Filters TurbAvg | Average | Yesterday
46 | TRUE | S3430100AITX061FR | 34TERF10 | Max Turbidity | HIST33G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
47 | TRUE | S3430100AITX061FR | 34TERF10 | Ave Turbidity | HIST33G_FR | Tertiary Filters TurbAvg | Average | Yesterday
48 | TRUE | S3430110AITX061FR | 34TERF11 | Max Turbidity | HIST33G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
49 | TRUE | S3430110AITX061FR | 34TERF11 | Ave Turbidity | HIST33G_FR | Tertiary Filters TurbAvg | Average | Yesterday
50 | TRUE | S3430120AITX061FR | 34TERF12 | Ave Turbidity | HIST33G_FR | Tertiary Filters TurbAvg | Average | Yesterday
51 | TRUE | S3430120AITX061FR | 34TERF12 | Max Turbidity | HIST33G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
52 | TRUE | S3430130AITX061FR | 34TERF13 | Ave Turbidity | HIST31G_FR | Tertiary Filters TurbAvg | Average | Yesterday
53 | TRUE | S3430130AITX061FR | 34TERF13 | Max Turbidity | HIST31G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
54 | TRUE | S3430140AITX061FR | 34TERF14 | Max Turbidity | HIST31G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
55 | TRUE | S3430140AITX061FR | 34TERF14 | Ave Turbidity | HIST31G_FR | Tertiary Filters TurbAvg | Average | Yesterday
56 | TRUE | S3430150AITX061FR | 34TERF15 | Max Turbidity | HIST31G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
57 | TRUE | S3430150AITX061FR | 34TERF15 | Ave Turbidity | HIST31G_FR | Tertiary Filters TurbAvg | Average | Yesterday
58 | TRUE | S3430160AITX061FR | 34TERF16 | Ave Turbidity | HIST31G_FR | Tertiary Filters TurbAvg | Average | Yesterday
59 | TRUE | S3430160AITX061FR | 34TERF16 | Max Turbidity | HIST31G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
60 | TRUE | S3430170AITX061FR | 34TERF17 | Max Turbidity | HIST32G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
61 | TRUE | S3430170AITX061FR | 34TERF17 | Ave Turbidity | HIST32G_FR | Tertiary Filters TurbAvg | Average | Yesterday
62 | TRUE | S3430180AITX061FR | 34TERF18 | Ave Turbidity | HIST32G_FR | Tertiary Filters TurbAvg | Average | Yesterday
63 | TRUE | S3430180AITX061FR | 34TERF18 | Max Turbidity | HIST32G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
64 | TRUE | S3430190AITX061FR | 34TERF19 | Ave Turbidity | HIST32G_FR | Tertiary Filters TurbAvg | Average | Yesterday
65 | TRUE | S3430190AITX061FR | 34TERF19 | Max Turbidity | HIST32G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
66 | TRUE | S3430200AITX061FR | 34TERF20 | Ave Turbidity | HIST32G_FR | Tertiary Filters TurbAvg | Average | Yesterday
67 | TRUE | S3430200AITX061FR | 34TERF20 | Max Turbidity | HIST32G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
68 | TRUE | S3430210AITX061FR | 34TERF21 | Ave Turbidity | HIST33G_FR | Tertiary Filters TurbAvg | Average | Yesterday
69 | TRUE | S3430210AITX061FR | 34TERF21 | Max Turbidity | HIST33G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
70 | TRUE | S3430220AITX061FR | 34TERF22 | Ave Turbidity | HIST33G_FR | Tertiary Filters TurbAvg | Average | Yesterday
71 | TRUE | S3430220AITX061FR | 34TERF22 | Max Turbidity | HIST33G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
72 | TRUE | S3451010FQIX055FR | 35WWTR02 | Flow Mgd | HIST32G_FR | Filter Backwash Flow to K Bldg | Total | Today
73 | TRUE | S3451020FQIX055FR | 35WWTR01 | Flow Mgd | HIST32G_FR | Filter Backwash Flow to IPS | Total | Today
74 | TRUE | S3470010AITX061FR | 31TERSC2 | Max Turbidity | HIST31G_FR | Max Turb | Maximum | Yesterday
75 | TRUE | S3470010AITX061FR | 31TERSC2 | Ave Turbidity | HIST31G_FR | Ave Turb | Average | Yesterday
76 | TRUE | S3470020AITX061FR | 31TERSC1 | Max Turbidity | HIST31G_FR | Max Turb | Maximum | Yesterday
77 | TRUE | S3470020AITX061FR | 31TERSC1 | Ave Turbidity | HIST31G_FR | Ave Turb | Average | Yesterday
78 | TRUE | S381001XKQIX037FR | 38PBLO01 | Run Hours | HIST21N_F | Post Aeration Blower Run Hrs | Total | Yesterday
79 | TRUE | S381002XKQIX037FR | 38PBLO02 | Run Hours | HIST21N_F | Post Aeration Blower Run Hrs | Total | Yesterday
80 | TRUE | S381003XKQIX037FR | 38PBLO03 | Run Hours | HIST21N_F | Post Aeration Blower Run Hrs | Total | Yesterday
81 | TRUE | S3818000FQIX055FR | 38POST00 | Effluent Q | HIST69X_FR | FinaL Effluent Flow MGD | Total | Yesterday
82 | TRUE | S3915010FIT_FR_FMAXY | 39REWS00 | Flow Max | HISTSRCLW_FR | Flow Max -50047 | Total | Today
83 | TRUE | S3915010FIT_FR_FTOTY | 39REWS00 | Flow Mgd | HISTSRCLW_FR | Reclaimed Water System Distributed Effluent Flow MG | Total | Today
84 | TRUE | S3915020FIT_FR_FTOTY | 39REWS00 | Influent Q | HISTSRCLW_FR | RCW System Influent Flow MG | Total | Today
85 | TRUE | S3916010UVT_FR_TAVG | 39REWS00 | Transmittance | HISTSRCLW_FR | RW UV Transmittance Daily Avg % | Average | Yesterday
86 | TRUE | S3916020XIT_FR_TAVGY | 39REWS00 | Ave Turbidity | HISTSRCLW_FR | Reclaimed Water Avg Turbidity NTU | Average | Yesterday
87 | TRUE | S3916030CLT_FR_CLAVG | 39REWS00 | Cl2 | HISTSRCLW_FR | RW Avg Chlorine Residual mg/L | Average | Yesterday
88 | TRUE | S3919040FIT_FR_FTOTY | 39REWS00 | Flow BFS | HISTSRCLW_FR | Bulk Fill Station Flow Meter - Flow Totalizer (Yesterday) | Total | Yesterday
89 | TRUE | S4013010VQIX055FR | 23SECS00 | FeCl3 Storage | HIST51L_FR | FeCl3 Storage Tank 1 Daily Usage | Total | Today
90 | TRUE | S4013020VQIX055FR | 23SECS00 | FeCl3 Storag~0 | HIST51L_FR | FeCl3 Storage Tank 2 Daily Usage | Total | Today
91 | TRUE | S4013030VQIX055FR | 23SECS00 | FeCl3 Storag~1 | HIST51L_FR | FeCl3 Storage Tank 3 Daily Usage | Total | Today
92 | TRUE | S4013040VQIX055FR | 23SECS00 | FeCl3 Storag~2 | HIST51L_FR | FeCl3 Storage Tank 4 Daily Usage | Total | Today
93 | TRUE | S4311010VQIX055FR | 43METH00 | Tank 1 Level | HIST21N_F | Methanol Storage Tank 1 | Total | Today
94 | TRUE | S4311020VQIX055FR | 43METH00 | Tank 2 Level | HIST21N_F | Methanol Storage Tank 2 | Total | Today
95 | TRUE | S4313010CCXX062FW | 43METH00 | Methanol Conce | HIST21N_FW | Methanol Concentration | Total | Today
96 | TRUE | S4320010FQIX055FR | 69CPTRTD | Carbon | HIST21N_F | Methanol Flow to CPT | Total | Yesterday
97 | TRUE | S4413010VQIX055FR | 44HYPO00 | GAL USED Tank | HIST51L_FR | Sodium Hypochlorite Storage Tank 1 Gallons Used | Total | Today
98 | TRUE | S4413020VQIX055FR | 44HYPO00 | GAL USED Tan~0 | HIST51L_FR | Sodium Hypochlorite Storage Tank 2 Gallons Used | Total | Today
99 | TRUE | S4513010VQIX055FR | 10PINF00 | NaOH2 Storage | HIST51L_FR | NaOH2 Storage Tank 1 | Total | Today
100 | TRUE | S4513020VQIX055FR | 10PINF00 | NaOH2 Storag~0 | HIST51L_FR | NaOH2 Storage Tank 2 | Total | Today
101 | TRUE | S4613010VQIX055FR | 46SULF00 | Tank 1 Level | HIST51L_FR | Sulfuric Acid Used Tank 1 | Total | Today
102 | TRUE | S4613020VQIX055FR | 46SULF00 | Tank 2 Level | HIST51L_FR | Sulfuric Acid Used Tank 2 | Total | Today
103 | TRUE | S4717010FQIX055FR | 31TIFL00 | Alum Used from | HIST33G_FR | Alum to TST | Total | Today
104 | TRUE | S551501XFITX055FR | 55WAT301 | SCADA Flow | HIST21N_F | W3 Meter 1 Total | Total | Today
105 | TRUE | S551502XFITX055FR | 55WAT302 | SCADA Flow | HIST21N_F | W3 Meter 2 Total | Total | Today
106 | TRUE | S551801XFITX055FR | 55WAT300 | SCADA Flow | HIST11K_F | K Bldg W3 Total Unrounded | Total | Today
107 | TRUE | S6011010FQIX055FR | 18PRSL00 | SCADA Flow | HIST45C_FR | Primary Sludge Flow | Total | Today
108 | TRUE | S6318010FQIX055FR | 60BITS00 | SCADA Sludge P | HIST41L_FR | SCADA Sludge Processed | Total | Today
109 | TRUE | S6318010FQIX055FR | 60BITS01 | SCADA Flow | HIST41L_FR | Gravity Thickened Sludge to TSET | Total | Today
110 | TRUE | S6319010FQIX055FR | 26WASP00 | SCADA Flow | HIST41L_FR | WAS Flow | Total | Today
111 | TRUE | S6351010FQIX055FR | 66EQTK01 | GTS To TSET | HIST41L_FR | TSET 1 GTS Flow | Total | Today
112 | TRUE | S6351020FQIX055FR | 66EQTK02 | GTS To TSET | HIST41L_FR | TSET 2 GTS Flow | Total | Today
113 | TRUE | S6351030FQIX055FR | 66EQTK03 | GTS To TSET | HIST41L_FR | TSET 3 GTS Flow | Total | Today
114 | TRUE | S6421010FQIX055FR | 64CTHK01 | Flow Mgd | HIST41L_FR | Centrifuge Thickener No. 1 Feed | Total | Today
115 | TRUE | S6421030FQIX055FR | 64CTHK03 | Flow Mgd | HIST42L_FR | Centrifuge Thickener No. 3 Feed | Total | Today
116 | TRUE | S6421040FQIX055FR | 64CTHK04 | Flow Mgd | HIST42L_FR | Centrifuge Thickener No. 4 Feed | Total | Today
117 | TRUE | S6421050FQIX055FR | 64CTHK05 | Flow Mgd | HIST43L_FR | Centrifuge Thickener No. 5 Feed | Total | Today
118 | TRUE | S6635000FQIX055FR | 66TSEQ00 | Flow Mgd | HIST43L_FR | Total Flow From TSETs | Total | Today
119 | TRUE | S6727010FQIX055FR | 64CTVF00 | SCADA Flow | HIST41L_FR | VFA Gallons Processed | Total | Today
120 | TRUE | S6815010FQIX055FR | 64CENT00 | SCADA Flow | HIST43L_FR | Combined Thickening Centrate | Total | Today
121 | TRUE | S6910001SYS_FR_EFFTOTY | 69CPTRTD | Flow MGD Eff | HIST69X_FR | All Reactors Total Effl. Flow, MG | Total | Yesterday
122 | TRUE | S6910001SYS_FR_INFTOTY | 69CPTRTD | Flow Mgd | HIST69X_FR | All Reactors Total Flow MG | Total | Yesterday
123 | TRUE | S6910010SYS_FR_BQTYY | 69CPTR01 | Reactor Cycles | HIST69X_FR | Reactor #1 Cycles | Total | Yesterday
124 | TRUE | S6910011AIT_FR_AVGY | 69CPTR00 | Solids TSS | HIST69X_FR | Average Dewatering Centrate TSS mg/L | Total | Yesterday
125 | TRUE | S6910011DAT_FR_DOAVGY | 69CPTR01 | Avg DO | HIST69X_FR | Reactor #1 Average DO, mg/L | Total | Yesterday
126 | TRUE | S6910011DAT_FR_DOMAXY | 69CPTR01 | Max DO | HIST69X_FR | Reactor #1 Maximum DO, mg/L | Total | Yesterday
127 | TRUE | S6910011DAT_FR_DOMINY | 69CPTR01 | Min DO | HIST69X_FR | Reactor #1 Minimum DO, mg/L | Total | Yesterday
128 | TRUE | S6910011DAT_FR_NH3AVGY | 69CPTR01 | Avg NH3 | HIST69X_FR | Reactor #1 Average NH3, mg/L | Total | Yesterday
129 | TRUE | S6910011DAT_FR_NH3MAXY | 69CPTR01 | Max NH3 | HIST69X_FR | Reactor #1 Maximum NH3, mg/L | Total | Yesterday
130 | TRUE | S6910011DAT_FR_NH3MINY | 69CPTR01 | Min NH3 | HIST69X_FR | Reactor #1 Minimum NH3, mg/L | Total | Yesterday
131 | TRUE | S6910011DAT_FR_NO3AVGY | 69CPTR01 | Avg NO3 | HIST69X_FR | Reactor #1 Average NO3, mg/L | Total | Yesterday
132 | TRUE | S6910011DAT_FR_NO3MAXY | 69CPTR01 | Max NO3 | HIST69X_FR | Reactor #1 Maximum NO3, mg/L | Total | Yesterday
133 | TRUE | S6910011DAT_FR_NO3MINY | 69CPTR01 | Min NO3 | HIST69X_FR | Reactor #1 Minimum NO3, mg/L | Total | Yesterday
134 | TRUE | S6910011DAT_FR_PHMAXY | 69CPTR01 | Max pH | HIST69X_FR | Reactor #1 Maximum pH | Total | Yesterday
135 | TRUE | S6910011DAT_FR_PHMINY | 69CPTR01 | Min pH | HIST69X_FR | Reactor #1 Minimum pH | Total | Yesterday
136 | TRUE | S6910011DAT_FR_TEMPAVGY | 69CPTR01 | Avg Temp | HIST69X_FR | Reactor #1 Average Temp, F | Total | Yesterday
137 | TRUE | S6910011DAT_FR_TEMPMAXY | 69CPTR01 | Max Temp | HIST69X_FR | Reactor #1 Maximum Temp, F | Total | Yesterday
138 | TRUE | S6910011DAT_FR_TEMPMINY | 69CPTR01 | Min Temp | HIST69X_FR | Reactor #1 Minimum Temp, F | Total | Yesterday
139 | TRUE | S6910012SYS_FR_DECTOTY | 69CPTR01 | Flow MGD Eff | HIST69X_FR | Reactor #1 Decant Flow gpd | Total | Yesterday
140 | TRUE | S6910012SYS_FR_WASTOTY | 69CPTR01 | WAS Flow | HIST69X_FR | Reactor #1 WAS Flow gpd | Total | Yesterday
141 | TRUE | S6910020SYS_FR_BQTYY | 69CPTR02 | Reactor Cycles | HIST69X_FR | Reactor #2 Cycles | Total | Yesterday
142 | TRUE | S6910021DAT_FR_DOAVGY | 69CPTR02 | Avg DO | HIST69X_FR | Reactor #2 Average DO, mg/L | Total | Yesterday
143 | TRUE | S6910021DAT_FR_DOMAXY | 69CPTR02 | Max DO | HIST69X_FR | Reactor #2 Maximum DO, mg/L | Total | Yesterday
144 | TRUE | S6910021DAT_FR_DOMINY | 69CPTR02 | Min DO | HIST69X_FR | Reactor #2 Minimum DO, mg/L | Total | Yesterday
145 | TRUE | S6910021DAT_FR_NH3AVGY | 69CPTR02 | Avg NH3 | HIST69X_FR | Reactor #2 Average NH3, mg/L | Total | Yesterday
146 | TRUE | S6910021DAT_FR_NH3MAXY | 69CPTR02 | Max NH3 | HIST69X_FR | Reactor #2 Maximum NH3, mg/L | Total | Yesterday
147 | TRUE | S6910021DAT_FR_NH3MINY | 69CPTR02 | Min NH3 | HIST69X_FR | Reactor #2 Minimum NH3, mg/L | Total | Yesterday
148 | TRUE | S6910021DAT_FR_NO3AVGY | 69CPTR02 | Avg NO3 | HIST69X_FR | Reactor #2 Average NO3, mg/L | Total | Yesterday
149 | TRUE | S6910021DAT_FR_NO3MAXY | 69CPTR02 | Max NO3 | HIST69X_FR | Reactor #2 Maximum NO3, mg/L | Total | Yesterday
150 | TRUE | S6910021DAT_FR_NO3MINY | 69CPTR02 | Min NO3 | HIST69X_FR | Reactor #2 Minimum NO3, mg/L | Total | Yesterday
151 | TRUE | S6910021DAT_FR_PHMAXY | 69CPTR02 | Max pH | HIST69X_FR | Reactor #2 Maximum pH | Total | Yesterday
152 | TRUE | S6910021DAT_FR_PHMINY | 69CPTR02 | Min pH | HIST69X_FR | Reactor #2 Minimum pH | Total | Yesterday
153 | TRUE | S6910021DAT_FR_TEMPAVGY | 69CPTR02 | Avg Temp | HIST69X_FR | Reactor #2 Average Temp F | Total | Yesterday
154 | TRUE | S6910021DAT_FR_TEMPMAXY | 69CPTR02 | Max Temp | HIST69X_FR | Reactor #2 Maximum Temp F | Total | Yesterday
155 | TRUE | S6910021DAT_FR_TEMPMINY | 69CPTR02 | Min Temp | HIST69X_FR | Reactor #2 Minimum Temp F | Total | Yesterday
156 | TRUE | S6910022SYS_FR_DECTOTY | 69CPTR02 | Flow MGD Eff | HIST69X_FR | Reactor #2 Decant Flow gpd | Total | Yesterday
157 | TRUE | S6910022SYS_FR_WASTOTY | 69CPTR02 | WAS Flow | HIST69X_FR | Reactor #2 WAS Flow gpd | Total | Yesterday
158 | TRUE | S6910030SYS_FR_BQTYY | 69CPTR03 | Reactor Cycles | HIST69X_FR | Daughter Reactor Cycles | Total | Yesterday
159 | TRUE | S6910031DAT_FR_DOAVGY | 69CPTR03 | Avg DO | HIST69X_FR | Daughter Reactor AverageDO, mg/L | Total | Yesterday
160 | TRUE | S6910031DAT_FR_DOMAXY | 69CPTR03 | Max DO | HIST69X_FR | Daughter Reactor MaximumDO, mg/L | Total | Yesterday
161 | TRUE | S6910031DAT_FR_DOMINY | 69CPTR03 | Min DO | HIST69X_FR | Daughter Reactor MinimumDO, mg/L | Total | Yesterday
162 | TRUE | S6910031DAT_FR_NH3AVGY | 69CPTR03 | Avg NH3 | HIST69X_FR | Daughter Reactor Average NH3, mg/L | Total | Yesterday
163 | TRUE | S6910031DAT_FR_NH3MAXY | 69CPTR03 | Max NH3 | HIST69X_FR | Daughter Reactor Maximum NH3, mg/L | Total | Yesterday
164 | TRUE | S6910031DAT_FR_NH3MINY | 69CPTR03 | Min NH3 | HIST69X_FR | Daughter Reactor Minimum NH3, mg/L | Total | Yesterday
165 | TRUE | S6910031DAT_FR_NO3AVGY | 69CPTR03 | Avg NO3 | HIST69X_FR | Daughter Reactor Minimum NO3, mg/L | Total | Yesterday
166 | TRUE | S6910031DAT_FR_NO3MAXY | 69CPTR03 | Max NO3 | HIST69X_FR | Daughter Reactor Maximum NO3, mg/L | Total | Yesterday
167 | TRUE | S6910031DAT_FR_NO3MINY | 69CPTR03 | Min NO3 | HIST69X_FR | Daughter Reactor Minimum NO3, mg/L | Total | Yesterday
168 | TRUE | S6910031DAT_FR_PHMAXY | 69CPTR03 | Max pH | HIST69X_FR | Daughter Reactor Maximum pH | Total | Yesterday
169 | TRUE | S6910031DAT_FR_PHMINY | 69CPTR03 | Min pH | HIST69X_FR | Daughter Reactor Minimum pH | Total | Yesterday
170 | TRUE | S6910031DAT_FR_TEMPAVGY | 69CPTR03 | Avg Temp | HIST69X_FR | Daughter Reactor Average Temp F | Total | Yesterday
171 | TRUE | S6910031DAT_FR_TEMPMAXY | 69CPTR03 | Max Temp | HIST69X_FR | Daughter Reactor Maximum Temp F | Total | Yesterday
172 | TRUE | S6910031DAT_FR_TEMPMINY | 69CPTR03 | Min Temp | HIST69X_FR | Daughter Reactor Minimum Temp F | Total | Yesterday
173 | TRUE | S6910032SYS_FR_DECTOTY | 69CPTR03 | Flow MGD Eff | HIST69X_FR | Daughter Reactor Decant Flow MG | Total | Yesterday
174 | TRUE | S6910032SYS_FR_WASTOTY | 69CPTR03 | WAS Flow | HIST69X_FR | Daughter Reactor WAS Flow gpd | Total | Yesterday
175 | TRUE | S6911010FIT_FR_TOTY | 69CPTR01 | Flow Mgd | HIST69X_FR | Reactor #1 Influent Flow MG | Total | Yesterday
176 | TRUE | S6911020FIT_FR_TOTY | 69CPTR02 | Flow Mgd | HIST69X_FR | Reactor #2 Influent Flow MG | Total | Yesterday
177 | TRUE | S6911030FIT_FR_TOTY | 69CPTR03 | Flow Mgd | HIST69X_FR | Daughter Reactor Influent Flow MG | Total | Yesterday
178 | TRUE | S6922010SYS_FR_TOTY | 69CPTR01 | Process Air | HIST69X_FR | Process Air to CPT #1, scfm | Total | Yesterday
179 | TRUE | S6922020SYS_FR_TOTY | 69CPTR02 | Process Air | HIST69X_FR | Process Air to CPT #2, scfm | Total | Yesterday
180 | TRUE | S6922030SYS_FR_TOTY | 69CPTR03 | Process Air | HIST69X_FR | Process Air to CPT #3, scfm | Total | Yesterday
181 | TRUE | S6956000SYS_FR_VOLTOTY | 69CPTRTD | Carbon | HIST69X_FR | Carbon Transferred to CPT gal | Total | Yesterday
182 | TRUE | S6980011TIT_FR_AVGY | 69CPTR00 | Temp F | HIST69X_FR | Average Centrate Temp. F. | Total | Yesterday
183 | TRUE | S7011010FQIX055FR | 70DFED01 | SCADA Sludge P | HIST46X_FR | Feed to Digester 1 | Total | Today
184 | TRUE | S7011020FQIX055FR | 70DFED02 | SCADA Sludge P | HIST46X_FR | Feed to Digester 2 | Total | Today
185 | TRUE | S7011030FQIX055FR | 70DFED03 | SCADA Sludge P | HIST46X_FR | Feed to Digester 3 | Total | Today
186 | TRUE | S7011040FQIX055FR | 70DFED04 | SCADA Sludge P | HIST46X_FR | Feed to Digester 4 | Total | Today
187 | TRUE | S7013010LITX061FR | 70DIGS01 | Tank Level | HIST46X_FR | Digester 1 Level, ft | Average | Yesterday
188 | TRUE | S7013010VITX061FR | 70DIGS01 | Scada Active V | HIST46X_FR | Digester 1 Volume | Average | Yesterday
189 | TRUE | S7013010YITX078FR | 70DIGS01 | Hydraulic Rete | HIST46X_FR | Digester 1 - HRT | Total | Today
190 | TRUE | S7013020LITX061FR | 70DIGS02 | Tank Level | HIST46X_FR | Digester 2 Level, ft | Average | Yesterday
191 | TRUE | S7013020VITX061FR | 70DIGS02 | Scada Active V | HIST46X_FR | Digester 2 Volume | Average | Yesterday
192 | TRUE | S7013020YITX078FR | 70DIGS02 | Hydraulic Rete | HIST46X_FR | Digester 2 - HRT | Total | Today
193 | TRUE | S7013030LITX061FR | 70DIGS03 | Tank Level | HIST46X_FR | Digester 3 Level, ft | Average | Yesterday
194 | TRUE | S7013030VITX061FR | 70DIGS03 | Scada Active V | HIST46X_FR | Digester 3 Volume | Average | Yesterday
195 | TRUE | S7013030YITX078FR | 70DIGS03 | Hydraulic Rete | HIST46X_FR | Digester 3 - HRT | Total | Today
196 | TRUE | S7013040LITX061FR | 70DIGS04 | Tank Level | HIST46X_FR | Digester 4 Level, ft | Average | Yesterday
197 | TRUE | S7013040VITX061FR | 70DIGS04 | Scada Active V | HIST46X_FR | Digester 4 Volume | Average | Yesterday
198 | TRUE | S7013040YITX078FR | 70DIGS04 | Hydraulic Rete | HIST46X_FR | Digester 4 - HRT | Total | Today
199 | TRUE | S7016010TITX061FR | 70DIGS01 | Water Temperat | HIST46X_FR | Digester 1 Temp., F. | Average | Yesterday
200 | TRUE | S7016020TITX061FR | 70DIGS02 | Water Temperat | HIST46X_FR | Digester 2 Temp., F. | Average | Yesterday
201 | TRUE | S7016030TITX061FR | 70DIGS03 | Water Temperat | HIST46X_FR | Digester 3 Temp., F. | Average | Yesterday
202 | TRUE | S7016040TITX061FR | 70DIGS04 | Water Temperat | HIST46X_FR | Digester 4 Temp., F. | Average | Yesterday
203 | TRUE | S7024010FQIX055FR | 70DGST01 | SCADA Sludge P | HIST46X_FR | Feed Transferred From Digester 1, MG | Total | Today
204 | TRUE | S7024020FQIX055FR | 70DGST02 | SCADA Sludge P | HIST46X_FR | Feed Transferred From Digester 2, MG | Total | Today
205 | TRUE | S7024030FQIX055FR | 70DGST03 | SCADA Sludge P | HIST46X_FR | Feed Transferred From Digester 3, MG | Total | Today
206 | TRUE | S7024040FQIX055FR | 70DGST04 | SCADA Sludge P | HIST46X_FR | Feed Transferred From Digester 4, MG | Total | Today
207 | TRUE | S7236010FQIX055FR | 73DGGA01 | Gas to Flare | HIST46X_FR | Enclosed Flare - Total Gas to Flare | Total | Today
208 | TRUE | S7324010FQIX055FR | 73DGGA01 | Gas to Bldg A | HIST46X_FR | Digester Gas to Building A Boiler Usage | Total | Today
209 | TRUE | S7348010KQIX037FR | 73DGGA01 | SCADA EncFl1 R | HIST46X_FR | Enclosed Flare 1 Runtime | Total | Yesterday
210 | TRUE | S7348020KQIX037FR | 73DGGA01 | SCADA EncFl2 R | HIST46X_FR | Enclosed Flare 2 Runtime | Total | Yesterday
211 | TRUE | S7411010KQIX037FR | 74BOIL01 | Boiler 1 Tot R | HIST13A_FR | Boiler 1 Total Runtime | Total | Yesterday
212 | TRUE | S7411011KQIX037FR | 74BOIL01 | SCADA DigGas R | HIST13A_FR | Boiler 1 Digester Gas Runtime | Total | Yesterday
213 | TRUE | S7411012KQIX037FR | 74BOIL01 | SCADA NatGas R | HIST13A_FR | Boiler 1 Natural Gas Runtime | Total | Yesterday
214 | TRUE | S7411020KQIX037FR | 74BOIL02 | Boiler 2 Tot R | HIST13A_FR | Boiler 2 Total Runtime | Total | Yesterday
215 | TRUE | S7411021KQIX037FR | 74BOIL02 | SCADA DigGas R | HIST13A_FR | Boiler 2 Digester Gas Runtime | Total | Yesterday
216 | TRUE | S7411022KQIX037FR | 74BOIL02 | SCADA NatGas R | HIST13A_FR | Boiler 2 Natural Gas Runtime | Total | Yesterday
217 | TRUE | S7813010FQIX055FR | 01AWTB00 | Natural Gas | HIST33G_FR | NG Usage for Building G | Total | Today
218 | TRUE | S7814010FQIX055FR | 03FBLDG0 | Natural Gas | HIST21N_F | NG Usage for Building F | Total | Today
219 | TRUE | S7816010FQIX055FR | 04THKN00 | Natural Gas | HIST45C_FR | NG Usage for Building C2 | Total | Today
220 | TRUE | S7818010FQIX055FR | 00MAIN00 | Natural Gas | HIST13A_FR | NG Usage for Building A | Total | Today
221 | TRUE | S8000000CITXX055FR | 80CENT00 | TS Capture | HIST51L_FR | Treated Sludge % Capture Data | Total | Today
222 | TRUE | S8025010FQIX055FR | 80CINF01 | Flow Mgd | HIST51L_FR | Dewatering Centrifuge No. 1 Influent Flow | Total | Today
223 | TRUE | S8025020FQIX055FR | 80CINF02 | Flow Mgd | HIST51L_FR | Dewatering Centrifuge No. 2 Influent Flow | Total | Today
224 | TRUE | S8128010FQIX055FR | 81CENT00 | SCADA Flow | HIST52L_FR | Dewatering Centrate, gpm | Total | Today
225 | TRUE | S8515010FQIX055FR | 85PREP00 | Heat Exchanger | HISTPAST_FR | Heat Exchanger 1 Flow | Total | Today
226 | TRUE | S8515020FQIX055FR | 85PREP00 | Heat Exchang~0 | HISTPAST_FR | Heat Exchanger 2 Flow | Total | Today
227 | TRUE | S8515030FQIX055FR | 85PREP00 | Heat Exchang~1 | HISTPAST_FR | Heat Exchanger 3 Flow | Total | Today
228 | TRUE | S8523010FQIX055FR | 85PREP00 | Heat Exch. Rec | HISTPAST_FR | Heat Exchanger 1 Recirculation Flow | Total | Today
229 | TRUE | S8523020FQIX055FR | 85PREP00 | Heat Exch. R~0 | HISTPAST_FR | Heat Exchanger 2 Recirculation Flow | Total | Today
230 | TRUE | S8523030FQIX055FR | 85PREP00 | Heat Exch. R~1 | HISTPAST_FR | Heat Exchanger 3 Recirculation Flow | Total | Today
231 | TRUE | S8544010FQIX055FR | 85PREP00 | Heat_Xch1_Cold | HISTPAST_FR | Heat Exchanger 1 Cooling Water Flow | Total | Today
232 | TRUE | S8544020FQIX055FR | 85PREP00 | Heat_Xch2_Cold | HISTPAST_FR | Heat Exchanger 2 Cooling Water Flow | Total | Today
233 | TRUE | S8544030FQIX055FR | 85PREP00 | Heat_Xch3_Cold | HISTPAST_FR | Heat Exchanger 3 Cooling Water Flow | Total | Today
234 | TRUE | S8581010FQIX055FR | 85PREP00 | Heat_Xch1_Hot_ | HISTPAST_FR | Heat Exchanger 1 Hot Water Flow | Total | Today
235 | TRUE | S8581020FQIX055FR | 85PREP00 | Heat_Xch2_Hot_ | HISTPAST_FR | Heat Exchanger 2 Hot Water Flow | Total | Today
236 | TRUE | S8581030FQIX055FR | 85PREP00 | Heat_Xch3_Hot_ | HISTPAST_FR | Heat Exchanger 3 Hot Water Flow | Total | Today
237 | TRUE | S8630000FQIX055FR | 86PPIN00 | Overflow Flow | HIST45C_FR | Pre-Pasteurization TSS Well Overflow | Total | Today
238 | TRUE | S8651010FQIX055FR | 85PREP00 | Natural Gas | HIST45C_FR | Bio-Past Flare Gas Usage | Total | Today
239 | TRUE | S8651020FQIX055FR | 85PREP00 | Dig Gas Used | HIST45C_FR | Digester Gas Used in the Prepast Flare | Total | Today
240 | TRUE | S9030010WQIX055FR | 80CENT00 | SCADA Lime Sys | HISTSBIO_FR | Lime System No. 1 - total lbs | Total | Today
241 | TRUE | S9070020WQIX055FR | 80CENT00 | SCADA Lime S~0 | HISTSBIO_FR | Lime System No. 2 - total lbs | Total | Today
242 | TRUE | S9158000WQIL055FR | 91COSC00 | Actual Limed P | HISTSBIO_FR | Total Limed Sludge Produced - lbs | Total | Today
243 | TRUE | S9158000WQIU055FR | 91COSC00 | Actual Unimed | HISTSBIO_FR | Total Unlimed Sludge Produced - lbs | Total | Today
244 | TRUE | S9158000WQIX055FR | 91COSC00 | SCADA Wet Cake | HISTSBIO_FR | Actual Sludge Production lbs | Total | Today
245 | TRUE | S9711020FQIX055FR | 77pyps00 | SCADA Flow | HIST51L_FR | Potomac Yard Pump Station Flow | Total | Today
246 | TRUE | SJ951101JQIX055FR | 95ELEC03 | PM K Building | HIST11K_F | Power Monitor - K Building | Total | Today
247 | TRUE | SJ951102JQIX055FR | 95ELEC04 | PM K Buildi~0 | HIST11K_F | Power Monitor - K Building | Total | Today
248 | TRUE | SJ951201JQIX055FR | 95ELEC04 | PM TAB 1 | HIST12K_FR | Power Monitor - TAB 1 | Total | Today
249 | TRUE | SJ951301JQIX055FR | 95ELEC03 | PM Main Bldg. | HIST13A_FR | Power Monitor - Main Building | Total | Today
250 | TRUE | SJ951302JQIX055FR | 95ELEC04 | PM Main Bld~0 | HIST13A_FR | Power Monitor - Main Building | Total | Today
251 | TRUE | SJ951303JQIX055FR | 95ELEC03 | PM Main Bld~1 | HIST13A_FR | Power Monitor - Main Building | Total | Today
252 | TRUE | SJ951304JQIX055FR | 95ELEC04 | PM Main Bld~2 | HIST13A_FR | Power Monitor - Main Building | Total | Today
253 | TRUE | SJ951401JQIX055FR | 95ELEC03 | PM Building J | HIST14J_FR | Power Monitor - Building J | Total | Today
254 | TRUE | SJ951402JQIX055FR | 95ELEC03 | PM Building~b | HIST14J_FR | Power Monitor - Building J | Total | Today
255 | TRUE | SJ952101JQIX055FR | 95ELEC01 | PM UV Buildin | HIST21N_F | Power Monitor - UV Building | Total | Today
256 | TRUE | SJ952102JQIX055FR | 95ELEC02 | PM UV Build~0 | HIST21N_F | Power Monitor - UV Building | Total | Today
257 | TRUE | SJ952103JQIX055FR | 95ELEC01 | PM Bldg F exc | HIST21N_F | Power Monitor - Building F except PACs | Total | Today
258 | TRUE | SJ952104JQIX055FR | 95ELEC02 | PM Bldg F e~0 | HIST21N_F | Power Monitor - Building F except PACs | Total | Today
259 | TRUE | SJ952201JQIX055FR | 95ELEC01 | PM PAC 1 3 & | HIST22F_FR | Power Monitor - PACs 1, 3 and 5 | Total | Today
260 | TRUE | SJ952202JQIX055FR | 95ELEC02 | PM PAC 2 & 4 | HIST22F_FR | Power Monitor - PACs 2 and 4 | Total | Today
261 | TRUE | SJ952203JQIX055FR | 95ELEC01 | Scada KWh Use | HIST22F_FR | SS-1A Power Monitor | Total | Today
262 | TRUE | SJ952204JQIX055FR | 95ELEC02 | Scada KWh Use | HIST22F_FR | SS-1B Power Monitor | Total | Today
263 | TRUE | SJ952205JQIX055FR | 95ELEC03 | Scada KWh Use | HIST22F_FR | SS-2A Power Monitor | Total | Today
264 | TRUE | SJ952206JQIX055FR | 95ELEC04 | Scada KWh Use | HIST22F_FR | SS-2B Power Monitor | Total | Today
265 | TRUE | SJ952301JQIX055FR | 95ELEC03 | PM BRB~1 | HIST23X_FR | Power Monitor - BRBs | Total | Today
266 | TRUE | SJ952302JQIX055FR | 95ELEC04 | PM BRB~2 | HIST23X_FR | Power Monitor - BRBs | Total | Today
267 | TRUE | SJ952303JQIX055FR | 95ELEC03 | PM BRB~3 | HIST23X_FR | Power Monitor - BRBs | Total | Today
268 | TRUE | SJ952304JQIX055FR | 95ELEC04 | PM BRB~4 | HIST23X_FR | Power Monitor - BRBs | Total | Today
269 | TRUE | SJ952305JQIX055FR | 95ELEC03 | PM BRB | HIST23X_FR | Power Monitor - BRBs | Total | Today
270 | TRUE | SJ952306JQIX055FR | 95ELEC04 | PM BRB~0 | HIST23X_FR | Power Monitor - BRBs | Total | Today
271 | TRUE | SJ952307JQIX055FR | 95ELEC03 | PM Sec Set ~5 | HIST23X_FR | Power Monitor - Secondary Settling (TAB 5) | Total | Today
272 | TRUE | SJ952308JQIX055FR | 95ELEC04 | PM Sec Set ~6 | HIST23X_FR | Power Monitor - Secondary Settling (TAB 5) | Total | Today
273 | TRUE | SJ952309JQIX055FR | 95ELEC03 | PM Methanol B | HIST23X_FR | Power Monitor - Methanol Building | Total | Today
274 | TRUE | SJ952401JQIX055FR | 95ELEC03 | PM Sec Set ~1 | HIST24X_FR | Power Monitor - Secondary Settling (TAB 3) | Total | Today
275 | TRUE | SJ952402JQIX055FR | 95ELEC04 | PM Sec Set ~2 | HIST24X_FR | Power Monitor - Secondary Settling (TAB 3) | Total | Today
276 | TRUE | SJ952403JQIX055FR | 95ELEC03 | PM Sec Set ~3 | HIST24X_FR | Power Monitor - Secondary Settling (TAB 4 | Total | Today
277 | TRUE | SJ952404JQIX055FR | 95ELEC04 | PM Sec Set ~4 | HIST24X_FR | Power Monitor - Secondary Settling (TAB 4) | Total | Today
278 | TRUE | SJ952405JQIX055FR | 95ELEC03 | PM Sec Set ~7 | HIST24X_FR | Power Monitor - Secondary Settling (TAB 4) | Total | Today
279 | TRUE | SJ952405JQIX055FR | 95ELEC04 | PM Sec Set ~8 | HIST24X_FR | Power Monitor - Secondary Settling (TAB 4) | Total | Today
280 | TRUE | SJ952405JQIX055FR | 95ELEC03 | PM Sec Set TA | HIST24X_FR | Power Monitor - Secondary Settling (TAB 4) | Total | Today
281 | TRUE | SJ952406JQIX055FR | 95ELEC04 | PM Sec Set ~0 | HIST24X_FR | Power Monitor - Secondary Settling (TAB 4) | Total | Today
282 | TRUE | SJ953101JQIX055FR | 95ELEC03 | PM AWT G1 | HIST31G_FR | Power Monitor - AWT, G1 | Total | Today
283 | TRUE | SJ953102JQIX055FR | 95ELEC04 | PM AWT G1~0 | HIST31G_FR | Power Monitor - AWT, G1 | Total | Today
284 | TRUE | SJ953103JQIX055FR | 95ELEC03 | PM AWT G5 | HIST31G_FR | Power Monitor - AWT, G5, Washwater | Total | Today
285 | TRUE | SJ953104JQIX055FR | 95ELEC04 | PM AWT G5~0 | HIST31G_FR | Power Monitor - AWT, G5, Washwater | Total | Today
286 | TRUE | SJ953105JQIX055FR | 95ELEC03 | PM AWT G3 | HIST31G_FR | Power Monitor - AWT, G3 | Total | Today
287 | TRUE | SJ953106JQIX055FR | 95ELEC03 | PM AWT G3~0 | HIST31G_FR | Power Monitor - AWT, G3 | Total | Today
288 | TRUE | SJ953107JQIX055FR | 95ELEC03 | PM AWT G3~1 | HIST31G_FR | Power Monitor - AWT, G3 | Total | Today
289 | TRUE | SJ953108JQIX055FR | 95ELEC03 | PM AWT G3~2 | HIST31G_FR | Power Monitor - AWT, G3 | Total | Today
290 | TRUE | SJ953201JQIX055FR | 95ELEC04 | PM AWT G4 | HIST32G_FR | Power Monitor - AWT, G4 | Total | Today
291 | TRUE | SJ953202JQIX055FR | 95ELEC04 | PM AWT G4~0 | HIST32G_FR | Power Monitor - AWT, G4 | Total | Today
292 | TRUE | SJ953401JQIX055FR | 95ELEC03 | PM AWT Switch | HIST34G_FR | Power Monitor - AWT, G1 | Total | Today
293 | TRUE | SJ953402JQIX055FR | 95ELEC04 | PM AWT Swit~0 | HIST34G_FR | Power Monitor - AWT, G1 | Total | Today
294 | TRUE | SJ954501JQIX055FR | 95ELEC01 | PM Thickening | HIST45C_FR | Power Monitor - Building F except PACs | Total | Today
295 | TRUE | SJ954502JQIX055FR | 95ELEC02 | PM Thickeni~0 | HIST45C_FR | Power Monitor - Thickening Building | Total | Today
296 | TRUE | SJ954503JQIX055FR | 95ELEC01 | PM Prepast | HIST45C_FR | Power Monitor - Prepasteurization | Total | Today
297 | TRUE | SJ954504JQIX055FR | 95ELEC02 | PM Prepast~0 | HIST45C_FR | Power Monitor - Prepasteurization | Total | Today
298 | TRUE | SJ954601JQIX055FR | 95ELEC01 | PM Digester | HIST46X_FR | Power Monitor - Digester Complex | Total | Today
299 | TRUE | SJ954602JQIX055FR | 95ELEC02 | PM Digester~1 | HIST46X_FR | Power Monitor - Digester Complex | Total | Today
300 | TRUE | SJ954603JQIX055FR | 95ELEC01 | PM Digester~0 | HIST46X_FR | Power Monitor - Digester Complex | Total | Today
301 | TRUE | SJ954604JQIX055FR | 95ELEC02 | PM Digester~2 | HIST46X_FR | Power Monitor - Digester Complex | Total | Today
302 | TRUE | SJ955101JQIX055FR | 95ELEC03 | PM Building~7 | HIST51L_FR | Power Monitor - Building L | Total | Today
303 | TRUE | SJ955102JQIX055FR | 95ELEC04 | PM Building~8 | HIST51L_FR | Power Monitor - Building L | Total | Today
304 | TRUE | SJ955103JQIX055FR | 95ELEC03 | PM Building~9 | HIST51L_FR | Power Monitor - Building L | Total | Today
305 | TRUE | SJ955104JQIX055FR | 95ELEC04 | PM Building~a | HIST51L_FR | Power Monitor - Building L | Total | Today
306 | TRUE | SJ955105JQIX055FR | 95ELEC03 | PM Building~5 | HIST51L_FR | Power Monitor - Building L | Total | Today
307 | TRUE | SJ955106JQIX055FR | 95ELEC04 | PM Building~6 | HIST51L_FR | Power Monitor - Building L | Total | Today
308 | TRUE | SJ955107JQIX055FR | 95ELEC03 | PM Thick. Cen | HIST51L_FR | Power Monitor - Thickening Centrifuge #1 | Total | Today
309 | TRUE | SJ955108JQIX055FR | 95ELEC03 | PM Thick. C~0 | HIST51L_FR | Power Monitor - Thickening Centrifuge #3 | Total | Today
310 | TRUE | SJ955109JQIX055FR | 95ELEC04 | PM Thick. C~2 | HIST51L_FR | Power Monitor - Thickening Centrifuge #4 | Total | Today
311 | TRUE | SJ955110JQIX055FR | 95ELEC03 | PM Thick. C~1 | HIST51L_FR | Power Monitor - Thickening Centrifuge #5 | Total | Today
312 | TRUE | SJ955201JQIX055FR | 95ELEC02 | PM Building~1 | HIST52L_FR | Power Monitor - Building L | Total | Today
313 | TRUE | SJ955202JQIX055FR | 95ELEC01 | PM Building~2 | HIST52L_FR | Power Monitor - Building L | Total | Today
314 | TRUE | SJ955203JQIX055FR | 95ELEC01 | PM Building~3 | HIST52L_FR | Power Monitor - Building L | Total | Today
315 | TRUE | SJ955204JQIX055FR | 95ELEC02 | PM Building~4 | HIST52L_FR | Power Monitor - Building L | Total | Today
316 | TRUE | SJ955205JQIX055FR | 95ELEC01 | PM Building L | HIST52L_FR | Power Monitor - Building L | Total | Today
317 | TRUE | SJ955206JQIX055FR | 95ELEC02 | PM Building~0 | HIST52L_FR | Power Monitor - Building L | Total | Today
318 | TRUE | SJ955207JQIX055FR | 95ELEC02 | PM Dewat Ce~0 | HIST52L_FR | Power Monitor - Dewatering Centrifuge #1 | Total | Today
319 | TRUE | SJ955208JQIX055FR | 95ELEC02 | PM Dewat Ce~1 | HIST52L_FR | Power Monitor - Dewatering Centrifuge #2 | Total | Today
320 | TRUE | SJ955209JQIX055FR | 95ELEC01 | PM Dewat Cent | HIST52L_FR | Power Monitor - Dewatering Centrifuge #3 | Total | Today
321 | TRUE | SJ956901PWR_FR_KWHY | 95ELEC03 | CPT | HIST69X_FR | Energy Use MCC-69-1A | Total | Yesterday
322 | TRUE | SJ956902PWR_FR_KWHY | 95ELEC04 | CPT | HIST69X_FR | Energy Use MCC-69-1B | Total | Yesterday
323 | TRUE | SPRIMARYFLOW055FR | 13KBLD00 | SCADA Flow | HIST11K_F | Gross Influent Flow Unrounded | Total | Today
324 | TRUE | SPRIMARYFLOW061FR | 13KBLD00 | Flow Max | HIST11K_F | Plant Influent After Grit Removal Q Max | Maximum | Yesterday
325 | TRUE | SPRIMARYFLOW061FR | 13KBLD00 | Flow Min | HIST11K_F | Plant Influent After Grit Removal Q Min | Minimum | Yesterday

## Sheet2
SCADA Column | Enabled | SCADA Tag | Location | Parameter | SCADA Table | Description | Query Type | Total Method
1 | TRUE | S2110117FQIX055FR | 21BRBI01 | Flow Reading 1 | HIST23X_FR | BRB 1 Influent Flow 1 | Total | Today
2 | TRUE | S2110127FQIX055FR | 21BRBI02 | Flow Reading 1 | HIST23X_FR | BRB 2 Influent Flow 1 | Total | Today
3 | TRUE | S2110137FQIX055FR | 21BRBI03 | Flow Reading 1 | HIST23X_FR | BRB 3 Influent Flow 1 | Total | Today
4 | TRUE | S2110147FQIX055FR | 21BRBI04 | Flow Reading 1 | HIST22F_FR | BRB 4 Influent Flow 1 | Total | Today
5 | TRUE | S2110157FQIX055FR | 21BRBI05 | Flow Reading 1 | HIST22F_FR | BRB 5 Influent Flow 1 | Total | Today
6 | TRUE | S2110217FQIX055FR | 21BRBI01 | Flow Reading 2 | HIST23X_FR | BRB 1 Influent Flow 2 | Total | Today
7 | TRUE | S2110227FQIX055FR | 21BRBI02 | Flow Reading 2 | HIST23X_FR | BRB 2 Influent Flow 2 | Total | Today
8 | TRUE | S2110237FQIX055FR | 21BRBI03 | Flow Reading 2 | HIST23X_FR | BRB 3 Influent Flow 2 | Total | Today
9 | TRUE | S2110247FQIX055FR | 21BRBI04 | Flow Reading 2 | HIST22F_FR | BRB 4 Influent Flow 2 | Total | Today
10 | TRUE | S2110257FQIX055FR | 21BRBI05 | Flow Reading 2 | HIST22F_FR | BRB 5 Influent Flow 2 | Total | Today
11 | TRUE | S2520000FQIX055FR | 25RASP00 | SCADA Flow | HIST24X_FR | RAS Flow Total | Total | Today
12 | TRUE | S2520010FQIX055FR | 23SESL01 | SCADA Flow | HIST21N_F | SST1 Sludge Flow | Total | Today
13 | TRUE | S2520020FQIX055FR | 23SESL02 | SCADA Flow | HIST21N_F | SST2 Sludge Flow | Total | Today
14 | TRUE | S2520030FQIX055FR | 23SESL03 | SCADA Flow | HIST24X_FR | SST 3 Sludge Flow | Total | Today
15 | TRUE | S2520040FQIX055FR | 23SESL04 | SCADA Flow | HIST24X_FR | SST 4 Sludge Flow | Total | Today
16 | TRUE | S2520050FQIX055FR | 23SESL05 | SCADA Flow | HIST22F_FR | SST 5 Sludge Flow | Total | Today
17 | TRUE | S2542010FQIX055FR | 23SESL06 | SCADA Flow | HIST22F_FR | SST 6 Sludge Flow | Total | Today
18 | TRUE | S3130000FQIX055FR | 31TIFL00 | Flow Mgd | HIST31G_FR | Filter Influent Flow | Total | Today
19 | TRUE | S3311010FQIX055FR | 31TESL01 | Flow Mgd | HIST32G_FR | Tertiary Settling Tank No. 1 Sludge Flow | Total | Today
20 | TRUE | S3311020FQIX055FR | 31TESL02 | Flow Mgd | HIST32G_FR | Tertiary Settling Tank No. 2 Sludge Flow | Total | Today
21 | TRUE | S3311030FQIX055FR | 31TESL03 | Flow Mgd | HIST32G_FR | Tertiary Settling Tank No. 3 | Total | Today
22 | TRUE | S3311040FQIX055FR | 31TESL04 | Flow Mgd | HIST32G_FR | Tertiary Settling Tank No. 4 Sludge Flow | Total | Today
23 | TRUE | S3311050FQIX055FR | 31TESL05 | Flow Mgd | HIST32G_FR | Tertiary Settling Tank No. 5 Sludge Flow | Total | Today
24 | TRUE | S3311060FQIX055FR | 31TESL06 | Flow Mgd | HIST32G_FR | Tertiary Settling Tank No. 6 Sludge Flow | Total | Today
25 | TRUE | S3311070FQIX055FR | 31TESL07 | Flow Mgd | HIST32G_FR | Tertiary Settling Tank No. 7 Sludge Flow | Total | Today
26 | TRUE | S3311080FQIX055FR | 31TESL08 | Flow Mgd | HIST32G_FR | Tertiary Settling Tank No. 8 Sludge Flow | Total | Today
27 | TRUE | S3420000FQIX055FR | 34TERF00 | Flow Mgd | HIST32G_FR | Filter Effluent | Total | Today
28 | TRUE | S3430010AITX061FR | 34TERF01 | Max Turbidity | HIST31G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
29 | TRUE | S3430010AITX061FR | 34TERF01 | Ave Turbidity | HIST31G_FR | Tertiary Filters TurbAvg | Average | Yesterday
30 | TRUE | S3430020AITX061FR | 34TERF02 | Ave Turbidity | HIST31G_FR | Tertiary Filters TurbAvg | Average | Yesterday
31 | TRUE | S3430020AITX061FR | 34TERF02 | Max Turbidity | HIST31G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
32 | TRUE | S3430030AITX061FR | 34TERF03 | Max Turbidity | HIST31G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
33 | TRUE | S3430030AITX061FR | 34TERF03 | Ave Turbidity | HIST31G_FR | Tertiary Filters TurbAvg | Average | Yesterday
34 | TRUE | S3430040AITX061FR | 34TERF04 | Ave Turbidity | HIST31G_FR | Tertiary Filters TurbAvg | Average | Yesterday
35 | TRUE | S3430040AITX061FR | 34TERF04 | Max Turbidity | HIST31G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
36 | TRUE | S3430050AITX061FR | 34TERF05 | Ave Turbidity | HIST32G_FR | Tertiary Filters TurbAvg | Average | Yesterday
37 | TRUE | S3430050AITX061FR | 34TERF05 | Max Turbidity | HIST32G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
38 | TRUE | S3430060AITX061FR | 34TERF06 | Max Turbidity | HIST32G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
39 | TRUE | S3430060AITX061FR | 34TERF06 | Ave Turbidity | HIST32G_FR | Tertiary Filters TurbAvg | Average | Yesterday
40 | TRUE | S3430070AITX061FR | 34TERF07 | Max Turbidity | HIST32G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
41 | TRUE | S3430070AITX061FR | 34TERF07 | Ave Turbidity | HIST32G_FR | Tertiary Filters TurbAvg | Average | Yesterday
42 | TRUE | S3430080AITX061FR | 34TERF08 | Max Turbidity | HIST32G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
43 | TRUE | S3430080AITX061FR | 34TERF08 | Ave Turbidity | HIST32G_FR | Tertiary Filters TurbAvg | Average | Yesterday
44 | TRUE | S3430090AITX061FR | 34TERF09 | Max Turbidity | HIST33G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
45 | TRUE | S3430090AITX061FR | 34TERF09 | Ave Turbidity | HIST33G_FR | Tertiary Filters TurbAvg | Average | Yesterday
46 | TRUE | S3430100AITX061FR | 34TERF10 | Max Turbidity | HIST33G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
47 | TRUE | S3430100AITX061FR | 34TERF10 | Ave Turbidity | HIST33G_FR | Tertiary Filters TurbAvg | Average | Yesterday
48 | TRUE | S3430110AITX061FR | 34TERF11 | Max Turbidity | HIST33G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
49 | TRUE | S3430110AITX061FR | 34TERF11 | Ave Turbidity | HIST33G_FR | Tertiary Filters TurbAvg | Average | Yesterday
50 | TRUE | S3430120AITX061FR | 34TERF12 | Ave Turbidity | HIST33G_FR | Tertiary Filters TurbAvg | Average | Yesterday
51 | TRUE | S3430120AITX061FR | 34TERF12 | Max Turbidity | HIST33G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
52 | TRUE | S3430130AITX061FR | 34TERF13 | Ave Turbidity | HIST31G_FR | Tertiary Filters TurbAvg | Average | Yesterday
53 | TRUE | S3430130AITX061FR | 34TERF13 | Max Turbidity | HIST31G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
54 | TRUE | S3430140AITX061FR | 34TERF14 | Max Turbidity | HIST31G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
55 | TRUE | S3430140AITX061FR | 34TERF14 | Ave Turbidity | HIST31G_FR | Tertiary Filters TurbAvg | Average | Yesterday
56 | TRUE | S3430150AITX061FR | 34TERF15 | Max Turbidity | HIST31G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
57 | TRUE | S3430150AITX061FR | 34TERF15 | Ave Turbidity | HIST31G_FR | Tertiary Filters TurbAvg | Average | Yesterday
58 | TRUE | S3430160AITX061FR | 34TERF16 | Ave Turbidity | HIST31G_FR | Tertiary Filters TurbAvg | Average | Yesterday
59 | TRUE | S3430160AITX061FR | 34TERF16 | Max Turbidity | HIST31G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
60 | TRUE | S3430170AITX061FR | 34TERF17 | Max Turbidity | HIST32G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
61 | TRUE | S3430170AITX061FR | 34TERF17 | Ave Turbidity | HIST32G_FR | Tertiary Filters TurbAvg | Average | Yesterday
62 | TRUE | S3430180AITX061FR | 34TERF18 | Ave Turbidity | HIST32G_FR | Tertiary Filters TurbAvg | Average | Yesterday
63 | TRUE | S3430180AITX061FR | 34TERF18 | Max Turbidity | HIST32G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
64 | TRUE | S3430190AITX061FR | 34TERF19 | Ave Turbidity | HIST32G_FR | Tertiary Filters TurbAvg | Average | Yesterday
65 | TRUE | S3430190AITX061FR | 34TERF19 | Max Turbidity | HIST32G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
66 | TRUE | S3430200AITX061FR | 34TERF20 | Ave Turbidity | HIST32G_FR | Tertiary Filters TurbAvg | Average | Yesterday
67 | TRUE | S3430200AITX061FR | 34TERF20 | Max Turbidity | HIST32G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
68 | TRUE | S3430210AITX061FR | 34TERF21 | Ave Turbidity | HIST33G_FR | Tertiary Filters TurbAvg | Average | Yesterday
69 | TRUE | S3430210AITX061FR | 34TERF21 | Max Turbidity | HIST33G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
70 | TRUE | S3430220AITX061FR | 34TERF22 | Ave Turbidity | HIST33G_FR | Tertiary Filters TurbAvg | Average | Yesterday
71 | TRUE | S3430220AITX061FR | 34TERF22 | Max Turbidity | HIST33G_FR | Tertiary Filters TurbMax | Maximum | Yesterday
72 | TRUE | S3451010FQIX055FR | 35WWTR02 | Flow Mgd | HIST32G_FR | Filter Backwash Flow to K Bldg | Total | Today
73 | TRUE | S3451020FQIX055FR | 35WWTR01 | Flow Mgd | HIST32G_FR | Filter Backwash Flow to IPS | Total | Today
74 | TRUE | S3470010AITX061FR | 31TERSC2 | Max Turbidity | HIST31G_FR | Max Turb | Maximum | Yesterday
75 | TRUE | S3470010AITX061FR | 31TERSC2 | Ave Turbidity | HIST31G_FR | Ave Turb | Average | Yesterday
76 | TRUE | S3470020AITX061FR | 31TERSC1 | Max Turbidity | HIST31G_FR | Max Turb | Maximum | Yesterday
77 | TRUE | S3470020AITX061FR | 31TERSC1 | Ave Turbidity | HIST31G_FR | Ave Turb | Average | Yesterday
78 | TRUE | S381001XKQIX037FR | 38PBLO01 | Run Hours | HIST21N_F | Post Aeration Blower Run Hrs | Total | Yesterday
79 | TRUE | S381002XKQIX037FR | 38PBLO02 | Run Hours | HIST21N_F | Post Aeration Blower Run Hrs | Total | Yesterday
80 | TRUE | S381003XKQIX037FR | 38PBLO03 | Run Hours | HIST21N_F | Post Aeration Blower Run Hrs | Total | Yesterday
81 | TRUE | S3818000FQIX055FR | 38POST00 | Effluent Q | HIST69X_FR | FinaL Effluent Flow MGD | Total | Yesterday
82 | TRUE | S3915010FIT_FR_FMAXY | 39REWS00 | Flow Max | HISTSRCLW_FR | Flow Max -50047 | Maximum | Today
83 | TRUE | S3915010FIT_FR_FTOTY | 39REWS00 | Flow Mgd | HISTSRCLW_FR | Reclaimed Water System Distributed Effluent Flow MG | Total | Today
84 | TRUE | S3915020FIT_FR_FTOTY | 39REWS00 | Influent Q | HISTSRCLW_FR | RCW System Influent Flow MG | Total | Today
85 | TRUE | S3916010UVT_FR_TAVG | 39REWS00 | Transmittance | HISTSRCLW_FR | RW UV Transmittance Daily Avg % | Average | Yesterday
86 | TRUE | S3916020XIT_FR_TAVGY | 39REWS00 | Ave Turbidity | HISTSRCLW_FR | Reclaimed Water Avg Turbidity NTU | Average | Yesterday
87 | TRUE | S3916030CLT_FR_CLAVG | 39REWS00 | Cl2 | HISTSRCLW_FR | RW Avg Chlorine Residual mg/L | Average | Yesterday
88 | TRUE | S3919040FIT_FR_FTOTY | 39REWS00 | Flow BFS | HISTSRCLW_FR | Bulk Fill Station Flow Meter - Flow Totalizer (Yesterday) | Total | Yesterday
89 | TRUE | S4013010VQIX055FR | 23SECS00 | FeCl3 Storage | HIST51L_FR | FeCl3 Storage Tank 1 Daily Usage | Total | Today
90 | TRUE | S4013020VQIX055FR | 23SECS00 | FeCl3 Storag~0 | HIST51L_FR | FeCl3 Storage Tank 2 Daily Usage | Total | Today
91 | TRUE | S4013030VQIX055FR | 23SECS00 | FeCl3 Storag~1 | HIST51L_FR | FeCl3 Storage Tank 3 Daily Usage | Total | Today
92 | TRUE | S4013040VQIX055FR | 23SECS00 | FeCl3 Storag~2 | HIST51L_FR | FeCl3 Storage Tank 4 Daily Usage | Total | Today
93 | TRUE | S4311010VQIX055FR | 43METH00 | Tank 1 Level | HIST21N_F | Methanol Storage Tank 1 | Total | Today
94 | TRUE | S4311020VQIX055FR | 43METH00 | Tank 2 Level | HIST21N_F | Methanol Storage Tank 2 | Total | Today
95 | TRUE | S4313010CCXX062FW | 43METH00 | Methanol Conce | HIST21N_FW | Methanol Concentration | Total | Today
96 | TRUE | S4320010FQIX055FR | 69CPTRTD | Carbon | HIST21N_F | Methanol Flow to CPT | Total | Yesterday
97 | TRUE | S4413010VQIX055FR | 44HYPO00 | GAL USED Tank | HIST51L_FR | Sodium Hypochlorite Storage Tank 1 Gallons Used | Total | Today
98 | TRUE | S4413020VQIX055FR | 44HYPO00 | GAL USED Tan~0 | HIST51L_FR | Sodium Hypochlorite Storage Tank 2 Gallons Used | Total | Today
99 | TRUE | S4513010VQIX055FR | 10PINF00 | NaOH2 Storage | HIST51L_FR | NaOH2 Storage Tank 1 | Total | Today
100 | TRUE | S4513020VQIX055FR | 10PINF00 | NaOH2 Storag~0 | HIST51L_FR | NaOH2 Storage Tank 2 | Total | Today
101 | TRUE | S4613010VQIX055FR | 46SULF00 | Tank 1 Level | HIST51L_FR | Sulfuric Acid Used Tank 1 | Total | Today
102 | TRUE | S4613020VQIX055FR | 46SULF00 | Tank 2 Level | HIST51L_FR | Sulfuric Acid Used Tank 2 | Total | Today
103 | TRUE | S4717010FQIX055FR | 31TIFL00 | Alum Used from | HIST33G_FR | Alum to TST | Total | Today
104 | TRUE | S551501XFITX055FR | 55WAT301 | SCADA Flow | HIST21N_F | W3 Meter 1 Total | Total | Today
105 | TRUE | S551502XFITX055FR | 55WAT302 | SCADA Flow | HIST21N_F | W3 Meter 2 Total | Total | Today
106 | TRUE | S551801XFITX055FR | 55WAT300 | SCADA Flow | HIST11K_F | K Bldg W3 Total Unrounded | Total | Today
107 | TRUE | S6011010FQIX055FR | 18PRSL00 | SCADA Flow | HIST45C_FR | Primary Sludge Flow | Total | Today
108 | TRUE | S6318010FQIX055FR | 60BITS00 | SCADA Sludge P | HIST41L_FR | SCADA Sludge Processed | Total | Today
109 | TRUE | S6318010FQIX055FR | 60BITS01 | SCADA Flow | HIST41L_FR | Gravity Thickened Sludge to TSET | Total | Today
110 | TRUE | S6319010FQIX055FR | 26WASP00 | SCADA Flow | HIST41L_FR | WAS Flow | Total | Today
111 | TRUE | S6351010FQIX055FR | 66EQTK01 | GTS To TSET | HIST41L_FR | TSET 1 GTS Flow | Total | Today
112 | TRUE | S6351020FQIX055FR | 66EQTK02 | GTS To TSET | HIST41L_FR | TSET 2 GTS Flow | Total | Today
113 | TRUE | S6351030FQIX055FR | 66EQTK03 | GTS To TSET | HIST41L_FR | TSET 3 GTS Flow | Total | Today
114 | TRUE | S6421010FQIX055FR | 64CTHK01 | Flow Mgd | HIST41L_FR | Centrifuge Thickener No. 1 Feed | Total | Today
115 | TRUE | S6421030FQIX055FR | 64CTHK03 | Flow Mgd | HIST42L_FR | Centrifuge Thickener No. 3 Feed | Total | Today
116 | TRUE | S6421040FQIX055FR | 64CTHK04 | Flow Mgd | HIST42L_FR | Centrifuge Thickener No. 4 Feed | Total | Today
117 | TRUE | S6421050FQIX055FR | 64CTHK05 | Flow Mgd | HIST43L_FR | Centrifuge Thickener No. 5 Feed | Total | Today
118 | TRUE | S6635000FQIX055FR | 66TSEQ00 | Flow Mgd | HIST43L_FR | Total Flow From TSETs | Total | Today
119 | TRUE | S6727010FQIX055FR | 64CTVF00 | SCADA Flow | HIST41L_FR | VFA Gallons Processed | Total | Today
120 | TRUE | S6815010FQIX055FR | 64CENT00 | SCADA Flow | HIST43L_FR | Combined Thickening Centrate | Average | Today
121 | TRUE | S6910001SYS_FR_EFFTOTY | 69CPTRTD | Flow MGD Eff | HIST69X_FR | All Reactors Total Effl. Flow, MG | Total | Yesterday
122 | TRUE | S6910001SYS_FR_INFTOTY | 69CPTRTD | Flow Mgd | HIST69X_FR | All Reactors Total Flow MG | Total | Yesterday
123 | TRUE | S6910010SYS_FR_BQTYY | 69CPTR01 | Reactor Cycles | HIST69X_FR | Reactor #1 Cycles | Total | Yesterday
124 | TRUE | S6910011AIT_FR_AVGY | 69CPTR00 | Solids TSS | HIST69X_FR | Average Dewatering Centrate TSS mg/L | Total | Yesterday
125 | TRUE | S6910011DAT_FR_DOAVGY | 69CPTR01 | Avg DO | HIST69X_FR | Reactor #1 Average DO, mg/L | Total | Yesterday
126 | TRUE | S6910011DAT_FR_DOMAXY | 69CPTR01 | Max DO | HIST69X_FR | Reactor #1 Maximum DO, mg/L | Total | Yesterday
127 | TRUE | S6910011DAT_FR_DOMINY | 69CPTR01 | Min DO | HIST69X_FR | Reactor #1 Minimum DO, mg/L | Total | Yesterday
128 | TRUE | S6910011DAT_FR_NH3AVGY | 69CPTR01 | Avg NH3 | HIST69X_FR | Reactor #1 Average NH3, mg/L | Total | Yesterday
129 | TRUE | S6910011DAT_FR_NH3MAXY | 69CPTR01 | Max NH3 | HIST69X_FR | Reactor #1 Maximum NH3, mg/L | Total | Yesterday
130 | TRUE | S6910011DAT_FR_NH3MINY | 69CPTR01 | Min NH3 | HIST69X_FR | Reactor #1 Minimum NH3, mg/L | Total | Yesterday
131 | TRUE | S6910011DAT_FR_NO3AVGY | 69CPTR01 | Avg NO3 | HIST69X_FR | Reactor #1 Average NO3, mg/L | Total | Yesterday
132 | TRUE | S6910011DAT_FR_NO3MAXY | 69CPTR01 | Max NO3 | HIST69X_FR | Reactor #1 Maximum NO3, mg/L | Total | Yesterday
133 | TRUE | S6910011DAT_FR_NO3MINY | 69CPTR01 | Min NO3 | HIST69X_FR | Reactor #1 Minimum NO3, mg/L | Total | Yesterday
134 | TRUE | S6910011DAT_FR_PHMAXY | 69CPTR01 | Max pH | HIST69X_FR | Reactor #1 Maximum pH | Total | Yesterday
135 | TRUE | S6910011DAT_FR_PHMINY | 69CPTR01 | Min pH | HIST69X_FR | Reactor #1 Minimum pH | Total | Yesterday
136 | TRUE | S6910011DAT_FR_TEMPAVGY | 69CPTR01 | Avg Temp | HIST69X_FR | Reactor #1 Average Temp, F | Total | Yesterday
137 | TRUE | S6910011DAT_FR_TEMPMAXY | 69CPTR01 | Max Temp | HIST69X_FR | Reactor #1 Maximum Temp, F | Total | Yesterday
138 | TRUE | S6910011DAT_FR_TEMPMINY | 69CPTR01 | Min Temp | HIST69X_FR | Reactor #1 Minimum Temp, F | Total | Yesterday
139 | TRUE | S6910012SYS_FR_DECTOTY | 69CPTR01 | Flow MGD Eff | HIST69X_FR | Reactor #1 Decant Flow gpd | Total | Yesterday
140 | TRUE | S6910012SYS_FR_WASTOTY | 69CPTR01 | WAS Flow | HIST69X_FR | Reactor #1 WAS Flow gpd | Total | Yesterday
141 | TRUE | S6910020SYS_FR_BQTYY | 69CPTR02 | Reactor Cycles | HIST69X_FR | Reactor #2 Cycles | Total | Yesterday
142 | TRUE | S6910021DAT_FR_DOAVGY | 69CPTR02 | Avg DO | HIST69X_FR | Reactor #2 Average DO, mg/L | Total | Yesterday
143 | TRUE | S6910021DAT_FR_DOMAXY | 69CPTR02 | Max DO | HIST69X_FR | Reactor #2 Maximum DO, mg/L | Total | Yesterday
144 | TRUE | S6910021DAT_FR_DOMINY | 69CPTR02 | Min DO | HIST69X_FR | Reactor #2 Minimum DO, mg/L | Total | Yesterday
145 | TRUE | S6910021DAT_FR_NH3AVGY | 69CPTR02 | Avg NH3 | HIST69X_FR | Reactor #2 Average NH3, mg/L | Total | Yesterday
146 | TRUE | S6910021DAT_FR_NH3MAXY | 69CPTR02 | Max NH3 | HIST69X_FR | Reactor #2 Maximum NH3, mg/L | Total | Yesterday
147 | TRUE | S6910021DAT_FR_NH3MINY | 69CPTR02 | Min NH3 | HIST69X_FR | Reactor #2 Minimum NH3, mg/L | Total | Yesterday
148 | TRUE | S6910021DAT_FR_NO3AVGY | 69CPTR02 | Avg NO3 | HIST69X_FR | Reactor #2 Average NO3, mg/L | Total | Yesterday
149 | TRUE | S6910021DAT_FR_NO3MAXY | 69CPTR02 | Max NO3 | HIST69X_FR | Reactor #2 Maximum NO3, mg/L | Total | Yesterday
150 | TRUE | S6910021DAT_FR_NO3MINY | 69CPTR02 | Min NO3 | HIST69X_FR | Reactor #2 Minimum NO3, mg/L | Total | Yesterday
151 | TRUE | S6910021DAT_FR_PHMAXY | 69CPTR02 | Max pH | HIST69X_FR | Reactor #2 Maximum pH | Total | Yesterday
152 | TRUE | S6910021DAT_FR_PHMINY | 69CPTR02 | Min pH | HIST69X_FR | Reactor #2 Minimum pH | Total | Yesterday
153 | TRUE | S6910021DAT_FR_TEMPAVGY | 69CPTR02 | Avg Temp | HIST69X_FR | Reactor #2 Average Temp F | Total | Yesterday
154 | TRUE | S6910021DAT_FR_TEMPMAXY | 69CPTR02 | Max Temp | HIST69X_FR | Reactor #2 Maximum Temp F | Total | Yesterday
155 | TRUE | S6910021DAT_FR_TEMPMINY | 69CPTR02 | Min Temp | HIST69X_FR | Reactor #2 Minimum Temp F | Total | Yesterday
156 | TRUE | S6910022SYS_FR_DECTOTY | 69CPTR02 | Flow MGD Eff | HIST69X_FR | Reactor #2 Decant Flow gpd | Total | Yesterday
157 | TRUE | S6910022SYS_FR_WASTOTY | 69CPTR02 | WAS Flow | HIST69X_FR | Reactor #2 WAS Flow gpd | Total | Yesterday
158 | TRUE | S6910030SYS_FR_BQTYY | 69CPTR03 | Reactor Cycles | HIST69X_FR | Daughter Reactor Cycles | Total | Yesterday
159 | TRUE | S6910031DAT_FR_DOAVGY | 69CPTR03 | Avg DO | HIST69X_FR | Daughter Reactor AverageDO, mg/L | Total | Yesterday
160 | TRUE | S6910031DAT_FR_DOMAXY | 69CPTR03 | Max DO | HIST69X_FR | Daughter Reactor MaximumDO, mg/L | Total | Yesterday
161 | TRUE | S6910031DAT_FR_DOMINY | 69CPTR03 | Min DO | HIST69X_FR | Daughter Reactor MinimumDO, mg/L | Total | Yesterday
162 | TRUE | S6910031DAT_FR_NH3AVGY | 69CPTR03 | Avg NH3 | HIST69X_FR | Daughter Reactor Average NH3, mg/L | Total | Yesterday
163 | TRUE | S6910031DAT_FR_NH3MAXY | 69CPTR03 | Max NH3 | HIST69X_FR | Daughter Reactor Maximum NH3, mg/L | Total | Yesterday
164 | TRUE | S6910031DAT_FR_NH3MINY | 69CPTR03 | Min NH3 | HIST69X_FR | Daughter Reactor Minimum NH3, mg/L | Total | Yesterday
165 | TRUE | S6910031DAT_FR_NO3AVGY | 69CPTR03 | Avg NO3 | HIST69X_FR | Daughter Reactor Minimum NO3, mg/L | Total | Yesterday
166 | TRUE | S6910031DAT_FR_NO3MAXY | 69CPTR03 | Max NO3 | HIST69X_FR | Daughter Reactor Maximum NO3, mg/L | Total | Yesterday
167 | TRUE | S6910031DAT_FR_NO3MINY | 69CPTR03 | Min NO3 | HIST69X_FR | Daughter Reactor Minimum NO3, mg/L | Total | Yesterday
168 | TRUE | S6910031DAT_FR_PHMAXY | 69CPTR03 | Max pH | HIST69X_FR | Daughter Reactor Maximum pH | Total | Yesterday
169 | TRUE | S6910031DAT_FR_PHMINY | 69CPTR03 | Min pH | HIST69X_FR | Daughter Reactor Minimum pH | Total | Yesterday
170 | TRUE | S6910031DAT_FR_TEMPAVGY | 69CPTR03 | Avg Temp | HIST69X_FR | Daughter Reactor Average Temp F | Total | Yesterday
171 | TRUE | S6910031DAT_FR_TEMPMAXY | 69CPTR03 | Max Temp | HIST69X_FR | Daughter Reactor Maximum Temp F | Total | Yesterday
172 | TRUE | S6910031DAT_FR_TEMPMINY | 69CPTR03 | Min Temp | HIST69X_FR | Daughter Reactor Minimum Temp F | Total | Yesterday
173 | TRUE | S6910032SYS_FR_DECTOTY | 69CPTR03 | Flow MGD Eff | HIST69X_FR | Daughter Reactor Decant Flow MG | Total | Yesterday
174 | TRUE | S6910032SYS_FR_WASTOTY | 69CPTR03 | WAS Flow | HIST69X_FR | Daughter Reactor WAS Flow gpd | Total | Yesterday
175 | TRUE | S6911010FIT_FR_TOTY | 69CPTR01 | Flow Mgd | HIST69X_FR | Reactor #1 Influent Flow MG | Total | Yesterday
176 | TRUE | S6911020FIT_FR_TOTY | 69CPTR02 | Flow Mgd | HIST69X_FR | Reactor #2 Influent Flow MG | Total | Yesterday
177 | TRUE | S6911030FIT_FR_TOTY | 69CPTR03 | Flow Mgd | HIST69X_FR | Daughter Reactor Influent Flow MG | Total | Yesterday
178 | TRUE | S6922010SYS_FR_TOTY | 69CPTR01 | Process Air | HIST69X_FR | Process Air to CPT #1, scfm | Total | Yesterday
179 | TRUE | S6922020SYS_FR_TOTY | 69CPTR02 | Process Air | HIST69X_FR | Process Air to CPT #2, scfm | Total | Yesterday
180 | TRUE | S6922030SYS_FR_TOTY | 69CPTR03 | Process Air | HIST69X_FR | Process Air to CPT #3, scfm | Total | Yesterday
181 | TRUE | S6956000SYS_FR_VOLTOTY | 69CPTRTD | Carbon | HIST69X_FR | Carbon Transferred to CPT gal | Total | Yesterday
182 | TRUE | S6980011TIT_FR_AVGY | 69CPTR00 | Temp F | HIST69X_FR | Average Centrate Temp. F. | Total | Yesterday
183 | TRUE | S7011010FQIX055FR | 70DFED01 | SCADA Sludge P | HIST46X_FR | Feed to Digester 1 | Total | Today
184 | TRUE | S7011020FQIX055FR | 70DFED02 | SCADA Sludge P | HIST46X_FR | Feed to Digester 2 | Total | Today
185 | TRUE | S7011030FQIX055FR | 70DFED03 | SCADA Sludge P | HIST46X_FR | Feed to Digester 3 | Total | Today
186 | TRUE | S7011040FQIX055FR | 70DFED04 | SCADA Sludge P | HIST46X_FR | Feed to Digester 4 | Total | Today
187 | TRUE | S7013010LITX061FR | 70DIGS01 | Tank Level | HIST46X_FR | Digester 1 Level, ft | Average | Yesterday
188 | TRUE | S7013010VITX061FR | 70DIGS01 | Scada Active V | HIST46X_FR | Digester 1 Volume | Average | Yesterday
189 | TRUE | S7013010YITX078FR | 70DIGS01 | Hydraulic Rete | HIST46X_FR | Digester 1 - HRT | Total | Today
190 | TRUE | S7013020LITX061FR | 70DIGS02 | Tank Level | HIST46X_FR | Digester 2 Level, ft | Average | Yesterday
191 | TRUE | S7013020VITX061FR | 70DIGS02 | Scada Active V | HIST46X_FR | Digester 2 Volume | Average | Yesterday
192 | TRUE | S7013020YITX078FR | 70DIGS02 | Hydraulic Rete | HIST46X_FR | Digester 2 - HRT | Total | Today
193 | TRUE | S7013030LITX061FR | 70DIGS03 | Tank Level | HIST46X_FR | Digester 3 Level, ft | Average | Yesterday
194 | TRUE | S7013030VITX061FR | 70DIGS03 | Scada Active V | HIST46X_FR | Digester 3 Volume | Average | Yesterday
195 | TRUE | S7013030YITX078FR | 70DIGS03 | Hydraulic Rete | HIST46X_FR | Digester 3 - HRT | Total | Today
196 | TRUE | S7013040LITX061FR | 70DIGS04 | Tank Level | HIST46X_FR | Digester 4 Level, ft | Average | Yesterday
197 | TRUE | S7013040VITX061FR | 70DIGS04 | Scada Active V | HIST46X_FR | Digester 4 Volume | Average | Yesterday
198 | TRUE | S7013040YITX078FR | 70DIGS04 | Hydraulic Rete | HIST46X_FR | Digester 4 - HRT | Total | Today
199 | TRUE | S7016010TITX061FR | 70DIGS01 | Water Temperat | HIST46X_FR | Digester 1 Temp., F. | Average | Yesterday
200 | TRUE | S7016020TITX061FR | 70DIGS02 | Water Temperat | HIST46X_FR | Digester 2 Temp., F. | Average | Yesterday
201 | TRUE | S7016030TITX061FR | 70DIGS03 | Water Temperat | HIST46X_FR | Digester 3 Temp., F. | Average | Yesterday
202 | TRUE | S7016040TITX061FR | 70DIGS04 | Water Temperat | HIST46X_FR | Digester 4 Temp., F. | Average | Yesterday
203 | TRUE | S7024010FQIX055FR | 70DGST01 | SCADA Sludge P | HIST46X_FR | Feed Transferred From Digester 1, MG | Total | Today
204 | TRUE | S7024020FQIX055FR | 70DGST02 | SCADA Sludge P | HIST46X_FR | Feed Transferred From Digester 2, MG | Total | Today
205 | TRUE | S7024030FQIX055FR | 70DGST03 | SCADA Sludge P | HIST46X_FR | Feed Transferred From Digester 3, MG | Total | Today
206 | TRUE | S7024040FQIX055FR | 70DGST04 | SCADA Sludge P | HIST46X_FR | Feed Transferred From Digester 4, MG | Total | Today
207 | TRUE | S7236010FQIX055FR | 73DGGA01 | Gas to Flare | HIST46X_FR | Enclosed Flare - Total Gas to Flare | Total | Today
208 | TRUE | S7324010FQIX055FR | 73DGGA01 | Gas to Bldg A | HIST46X_FR | Digester Gas to Building A Boiler Usage | Total | Today
209 | TRUE | S7348010KQIX037FR | 73DGGA01 | SCADA EncFl1 R | HIST46X_FR | Enclosed Flare 1 Runtime | Total | Yesterday
210 | TRUE | S7348020KQIX037FR | 73DGGA01 | SCADA EncFl2 R | HIST46X_FR | Enclosed Flare 2 Runtime | Total | Yesterday
211 | TRUE | S7411010KQIX037FR | 74BOIL01 | Boiler 1 Tot R | HIST13A_FR | Boiler 1 Total Runtime | Total | Yesterday
212 | TRUE | S7411011KQIX037FR | 74BOIL01 | SCADA DigGas R | HIST13A_FR | Boiler 1 Digester Gas Runtime | Total | Yesterday
213 | TRUE | S7411012KQIX037FR | 74BOIL01 | SCADA NatGas R | HIST13A_FR | Boiler 1 Natural Gas Runtime | Total | Yesterday
214 | TRUE | S7411020KQIX037FR | 74BOIL02 | Boiler 2 Tot R | HIST13A_FR | Boiler 2 Total Runtime | Total | Yesterday
215 | TRUE | S7411021KQIX037FR | 74BOIL02 | SCADA DigGas R | HIST13A_FR | Boiler 2 Digester Gas Runtime | Total | Yesterday
216 | TRUE | S7411022KQIX037FR | 74BOIL02 | SCADA NatGas R | HIST13A_FR | Boiler 2 Natural Gas Runtime | Total | Yesterday
217 | TRUE | S7813010FQIX055FR | 01AWTB00 | Natural Gas | HIST33G_FR | NG Usage for Building G | Total | Today
218 | TRUE | S7814010FQIX055FR | 03FBLDG0 | Natural Gas | HIST21N_F | NG Usage for Building F | Total | Today
219 | TRUE | S7816010FQIX055FR | 04THKN00 | Natural Gas | HIST45C_FR | NG Usage for Building C2 | Maximum | Today
220 | TRUE | S7818010FQIX055FR | 00MAIN00 | Natural Gas | HIST13A_FR | NG Usage for Building A | Total | Today
221 | TRUE | S8000000CITXX055FR | 80CENT00 | TS Capture | HIST51L_FR | Treated Sludge % Capture Data | Total | Today
222 | TRUE | S8025010FQIX055FR | 80CINF01 | Flow Mgd | HIST51L_FR | Dewatering Centrifuge No. 1 Influent Flow | Total | Today
223 | TRUE | S8025020FQIX055FR | 80CINF02 | Flow Mgd | HIST51L_FR | Dewatering Centrifuge No. 2 Influent Flow | Total | Today
224 | TRUE | S8128010FQIX055FR | 81CENT00 | SCADA Flow | HIST52L_FR | Dewatering Centrate, gpm | Average | Today
225 | TRUE | S8515010FQIX055FR | 85PREP00 | Heat Exchanger | HISTPAST_FR | Heat Exchanger 1 Flow | Total | Today
226 | TRUE | S8515020FQIX055FR | 85PREP00 | Heat Exchang~0 | HISTPAST_FR | Heat Exchanger 2 Flow | Total | Today
227 | TRUE | S8515030FQIX055FR | 85PREP00 | Heat Exchang~1 | HISTPAST_FR | Heat Exchanger 3 Flow | Total | Today
228 | TRUE | S8523010FQIX055FR | 85PREP00 | Heat Exch. Rec | HISTPAST_FR | Heat Exchanger 1 Recirculation Flow | Total | Today
229 | TRUE | S8523020FQIX055FR | 85PREP00 | Heat Exch. R~0 | HISTPAST_FR | Heat Exchanger 2 Recirculation Flow | Total | Today
230 | TRUE | S8523030FQIX055FR | 85PREP00 | Heat Exch. R~1 | HISTPAST_FR | Heat Exchanger 3 Recirculation Flow | Total | Today
231 | TRUE | S8544010FQIX055FR | 85PREP00 | Heat_Xch1_Cold | HISTPAST_FR | Heat Exchanger 1 Cooling Water Flow | Total | Today
232 | TRUE | S8544020FQIX055FR | 85PREP00 | Heat_Xch2_Cold | HISTPAST_FR | Heat Exchanger 2 Cooling Water Flow | Total | Today
233 | TRUE | S8544030FQIX055FR | 85PREP00 | Heat_Xch3_Cold | HISTPAST_FR | Heat Exchanger 3 Cooling Water Flow | Total | Today
234 | TRUE | S8581010FQIX055FR | 85PREP00 | Heat_Xch1_Hot_ | HISTPAST_FR | Heat Exchanger 1 Hot Water Flow | Total | Today
235 | TRUE | S8581020FQIX055FR | 85PREP00 | Heat_Xch2_Hot_ | HISTPAST_FR | Heat Exchanger 2 Hot Water Flow | Total | Today
236 | TRUE | S8581030FQIX055FR | 85PREP00 | Heat_Xch3_Hot_ | HISTPAST_FR | Heat Exchanger 3 Hot Water Flow | Total | Today
237 | TRUE | S8630000FQIX055FR | 86PPIN00 | Overflow Flow | HIST45C_FR | Pre-Pasteurization TSS Well Overflow | Total | Today
238 | TRUE | S8651010FQIX055FR | 85PREP00 | Natural Gas | HIST45C_FR | Bio-Past Flare Gas Usage | Total | Today
239 | TRUE | S8651020FQIX055FR | 85PREP00 | Dig Gas Used | HIST45C_FR | Digester Gas Used in the Prepast Flare | Total | Today
240 | TRUE | S9030010WQIX055FR | 80CENT00 | SCADA Lime Sys | HISTSBIO_FR | Lime System No. 1 - total lbs | Total | Today
241 | TRUE | S9070020WQIX055FR | 80CENT00 | SCADA Lime S~0 | HISTSBIO_FR | Lime System No. 2 - total lbs | Total | Today
242 | TRUE | S9158000WQIL055FR | 91COSC00 | Actual Limed P | HISTSBIO_FR | Total Limed Sludge Produced - lbs | Total | Today
243 | TRUE | S9158000WQIU055FR | 91COSC00 | Actual Unimed | HISTSBIO_FR | Total Unlimed Sludge Produced - lbs | Total | Today
244 | TRUE | S9158000WQIX055FR | 91COSC00 | SCADA Wet Cake | HISTSBIO_FR | Actual Sludge Production lbs | Total | Today
245 | TRUE | S9711020FQIX055FR | 77pyps00 | SCADA Flow | HIST51L_FR | Potomac Yard Pump Station Flow | Total | Today
246 | TRUE | SJ951101JQIX055FR | 95ELEC03 | PM K Building | HIST11K_F | Power Monitor - K Building | Total | Today
247 | TRUE | SJ951102JQIX055FR | 95ELEC04 | PM K Buildi~0 | HIST11K_F | Power Monitor - K Building | Total | Today
248 | TRUE | SJ951201JQIX055FR | 95ELEC04 | PM TAB 1 | HIST12K_FR | Power Monitor - TAB 1 | Total | Today
249 | TRUE | SJ951301JQIX055FR | 95ELEC03 | PM Main Bldg. | HIST13A_FR | Power Monitor - Main Building | Total | Today
250 | TRUE | SJ951302JQIX055FR | 95ELEC04 | PM Main Bld~0 | HIST13A_FR | Power Monitor - Main Building | Total | Today
251 | TRUE | SJ951303JQIX055FR | 95ELEC03 | PM Main Bld~1 | HIST13A_FR | Power Monitor - Main Building | Total | Today
252 | TRUE | SJ951304JQIX055FR | 95ELEC04 | PM Main Bld~2 | HIST13A_FR | Power Monitor - Main Building | Total | Today
253 | TRUE | SJ951401JQIX055FR | 95ELEC03 | PM Building J | HIST14J_FR | Power Monitor - Building J | Total | Today
254 | TRUE | SJ951402JQIX055FR | 95ELEC03 | PM Building~b | HIST14J_FR | Power Monitor - Building J | Total | Today
255 | TRUE | SJ952101JQIX055FR | 95ELEC01 | PM UV Buildin | HIST21N_F | Power Monitor - UV Building | Total | Today
256 | TRUE | SJ952102JQIX055FR | 95ELEC02 | PM UV Build~0 | HIST21N_F | Power Monitor - UV Building | Total | Today
257 | TRUE | SJ952103JQIX055FR | 95ELEC01 | PM Bldg F exc | HIST21N_F | Power Monitor - Building F except PACs | Total | Today
258 | TRUE | SJ952104JQIX055FR | 95ELEC02 | PM Bldg F e~0 | HIST21N_F | Power Monitor - Building F except PACs | Total | Today
259 | TRUE | SJ952201JQIX055FR | 95ELEC01 | PM PAC 1 3 & | HIST22F_FR | Power Monitor - PACs 1, 3 and 5 | Total | Today
260 | TRUE | SJ952202JQIX055FR | 95ELEC02 | PM PAC 2 & 4 | HIST22F_FR | Power Monitor - PACs 2 and 4 | Total | Today
261 | TRUE | SJ952203JQIX055FR | 95ELEC01 | Scada KWh Use | HIST22F_FR | SS-1A Power Monitor | Total | Today
262 | TRUE | SJ952204JQIX055FR | 95ELEC02 | Scada KWh Use | HIST22F_FR | SS-1B Power Monitor | Total | Today
263 | TRUE | SJ952205JQIX055FR | 95ELEC03 | Scada KWh Use | HIST22F_FR | SS-2A Power Monitor | Total | Today
264 | TRUE | SJ952206JQIX055FR | 95ELEC04 | Scada KWh Use | HIST22F_FR | SS-2B Power Monitor | Total | Today
265 | TRUE | SJ952301JQIX055FR | 95ELEC03 | PM BRB~1 | HIST23X_FR | Power Monitor - BRBs | Total | Today
266 | TRUE | SJ952302JQIX055FR | 95ELEC04 | PM BRB~2 | HIST23X_FR | Power Monitor - BRBs | Total | Today
267 | TRUE | SJ952303JQIX055FR | 95ELEC03 | PM BRB~3 | HIST23X_FR | Power Monitor - BRBs | Total | Today
268 | TRUE | SJ952304JQIX055FR | 95ELEC04 | PM BRB~4 | HIST23X_FR | Power Monitor - BRBs | Total | Today
269 | TRUE | SJ952305JQIX055FR | 95ELEC03 | PM BRB | HIST23X_FR | Power Monitor - BRBs | Total | Today
270 | TRUE | SJ952306JQIX055FR | 95ELEC04 | PM BRB~0 | HIST23X_FR | Power Monitor - BRBs | Total | Today
271 | TRUE | SJ952307JQIX055FR | 95ELEC03 | PM Sec Set ~5 | HIST23X_FR | Power Monitor - Secondary Settling (TAB 5) | Total | Today
272 | TRUE | SJ952308JQIX055FR | 95ELEC04 | PM Sec Set ~6 | HIST23X_FR | Power Monitor - Secondary Settling (TAB 5) | Total | Today
273 | TRUE | SJ952309JQIX055FR | 95ELEC03 | PM Methanol B | HIST23X_FR | Power Monitor - Methanol Building | Total | Today
274 | TRUE | SJ952401JQIX055FR | 95ELEC03 | PM Sec Set ~1 | HIST24X_FR | Power Monitor - Secondary Settling (TAB 3) | Total | Today
275 | TRUE | SJ952402JQIX055FR | 95ELEC04 | PM Sec Set ~2 | HIST24X_FR | Power Monitor - Secondary Settling (TAB 3) | Total | Today
276 | TRUE | SJ952403JQIX055FR | 95ELEC03 | PM Sec Set ~3 | HIST24X_FR | Power Monitor - Secondary Settling (TAB 4 | Total | Today
277 | TRUE | SJ952404JQIX055FR | 95ELEC04 | PM Sec Set ~4 | HIST24X_FR | Power Monitor - Secondary Settling (TAB 4) | Total | Today
278 | TRUE | SJ952405JQIX055FR | 95ELEC03 | PM Sec Set ~7 | HIST24X_FR | Power Monitor - Secondary Settling (TAB 4) | Total | Today
279 | TRUE | SJ952405JQIX055FR | 95ELEC04 | PM Sec Set ~8 | HIST24X_FR | Power Monitor - Secondary Settling (TAB 4) | Total | Today
280 | TRUE | SJ952405JQIX055FR | 95ELEC03 | PM Sec Set TA | HIST24X_FR | Power Monitor - Secondary Settling (TAB 4) | Total | Today
281 | TRUE | SJ952406JQIX055FR | 95ELEC04 | PM Sec Set ~0 | HIST24X_FR | Power Monitor - Secondary Settling (TAB 4) | Total | Today
282 | TRUE | SJ953101JQIX055FR | 95ELEC03 | PM AWT G1 | HIST31G_FR | Power Monitor - AWT, G1 | Total | Today
283 | TRUE | SJ953102JQIX055FR | 95ELEC04 | PM AWT G1~0 | HIST31G_FR | Power Monitor - AWT, G1 | Total | Today
284 | TRUE | SJ953103JQIX055FR | 95ELEC03 | PM AWT G5 | HIST31G_FR | Power Monitor - AWT, G5, Washwater | Total | Today
285 | TRUE | SJ953104JQIX055FR | 95ELEC04 | PM AWT G5~0 | HIST31G_FR | Power Monitor - AWT, G5, Washwater | Total | Today
286 | TRUE | SJ953105JQIX055FR | 95ELEC03 | PM AWT G3 | HIST31G_FR | Power Monitor - AWT, G3 | Total | Today
287 | TRUE | SJ953106JQIX055FR | 95ELEC03 | PM AWT G3~0 | HIST31G_FR | Power Monitor - AWT, G3 | Total | Today
288 | TRUE | SJ953107JQIX055FR | 95ELEC03 | PM AWT G3~1 | HIST31G_FR | Power Monitor - AWT, G3 | Total | Today
289 | TRUE | SJ953108JQIX055FR | 95ELEC03 | PM AWT G3~2 | HIST31G_FR | Power Monitor - AWT, G3 | Total | Today
290 | TRUE | SJ953201JQIX055FR | 95ELEC04 | PM AWT G4 | HIST32G_FR | Power Monitor - AWT, G4 | Total | Today
291 | TRUE | SJ953202JQIX055FR | 95ELEC04 | PM AWT G4~0 | HIST32G_FR | Power Monitor - AWT, G4 | Total | Today
292 | TRUE | SJ953401JQIX055FR | 95ELEC03 | PM AWT Switch | HIST34G_FR | Power Monitor - AWT, G1 | Total | Today
293 | TRUE | SJ953402JQIX055FR | 95ELEC04 | PM AWT Swit~0 | HIST34G_FR | Power Monitor - AWT, G1 | Total | Today
294 | TRUE | SJ954501JQIX055FR | 95ELEC01 | PM Thickening | HIST45C_FR | Power Monitor - Building F except PACs | Total | Today
295 | TRUE | SJ954502JQIX055FR | 95ELEC02 | PM Thickeni~0 | HIST45C_FR | Power Monitor - Thickening Building | Total | Today
296 | TRUE | SJ954503JQIX055FR | 95ELEC01 | PM Prepast | HIST45C_FR | Power Monitor - Prepasteurization | Total | Today
297 | TRUE | SJ954504JQIX055FR | 95ELEC02 | PM Prepast~0 | HIST45C_FR | Power Monitor - Prepasteurization | Total | Today
298 | TRUE | SJ954601JQIX055FR | 95ELEC01 | PM Digester | HIST46X_FR | Power Monitor - Digester Complex | Total | Today
299 | TRUE | SJ954602JQIX055FR | 95ELEC02 | PM Digester~1 | HIST46X_FR | Power Monitor - Digester Complex | Total | Today
300 | TRUE | SJ954603JQIX055FR | 95ELEC01 | PM Digester~0 | HIST46X_FR | Power Monitor - Digester Complex | Total | Today
301 | TRUE | SJ954604JQIX055FR | 95ELEC02 | PM Digester~2 | HIST46X_FR | Power Monitor - Digester Complex | Total | Today
302 | TRUE | SJ955101JQIX055FR | 95ELEC03 | PM Building~7 | HIST51L_FR | Power Monitor - Building L | Total | Today
303 | TRUE | SJ955102JQIX055FR | 95ELEC04 | PM Building~8 | HIST51L_FR | Power Monitor - Building L | Total | Today
304 | TRUE | SJ955103JQIX055FR | 95ELEC03 | PM Building~9 | HIST51L_FR | Power Monitor - Building L | Total | Today
305 | TRUE | SJ955104JQIX055FR | 95ELEC04 | PM Building~a | HIST51L_FR | Power Monitor - Building L | Total | Today
306 | TRUE | SJ955105JQIX055FR | 95ELEC03 | PM Building~5 | HIST51L_FR | Power Monitor - Building L | Total | Today
307 | TRUE | SJ955106JQIX055FR | 95ELEC04 | PM Building~6 | HIST51L_FR | Power Monitor - Building L | Total | Today
308 | TRUE | SJ955107JQIX055FR | 95ELEC03 | PM Thick. Cen | HIST51L_FR | Power Monitor - Thickening Centrifuge #1 | Total | Today
309 | TRUE | SJ955108JQIX055FR | 95ELEC03 | PM Thick. C~0 | HIST51L_FR | Power Monitor - Thickening Centrifuge #3 | Total | Today
310 | TRUE | SJ955109JQIX055FR | 95ELEC04 | PM Thick. C~2 | HIST51L_FR | Power Monitor - Thickening Centrifuge #4 | Total | Today
311 | TRUE | SJ955110JQIX055FR | 95ELEC03 | PM Thick. C~1 | HIST51L_FR | Power Monitor - Thickening Centrifuge #5 | Total | Today
312 | TRUE | SJ955201JQIX055FR | 95ELEC02 | PM Building~1 | HIST52L_FR | Power Monitor - Building L | Total | Today
313 | TRUE | SJ955202JQIX055FR | 95ELEC01 | PM Building~2 | HIST52L_FR | Power Monitor - Building L | Total | Today
314 | TRUE | SJ955203JQIX055FR | 95ELEC01 | PM Building~3 | HIST52L_FR | Power Monitor - Building L | Total | Today
315 | TRUE | SJ955204JQIX055FR | 95ELEC02 | PM Building~4 | HIST52L_FR | Power Monitor - Building L | Total | Today
316 | TRUE | SJ955205JQIX055FR | 95ELEC01 | PM Building L | HIST52L_FR | Power Monitor - Building L | Total | Today
317 | TRUE | SJ955206JQIX055FR | 95ELEC02 | PM Building~0 | HIST52L_FR | Power Monitor - Building L | Total | Today
318 | TRUE | SJ955207JQIX055FR | 95ELEC02 | PM Dewat Ce~0 | HIST52L_FR | Power Monitor - Dewatering Centrifuge #1 | Total | Today
319 | TRUE | SJ955208JQIX055FR | 95ELEC02 | PM Dewat Ce~1 | HIST52L_FR | Power Monitor - Dewatering Centrifuge #2 | Total | Today
320 | TRUE | SJ955209JQIX055FR | 95ELEC01 | PM Dewat Cent | HIST52L_FR | Power Monitor - Dewatering Centrifuge #3 | Total | Today
321 | TRUE | SJ956901PWR_FR_KWHY | 95ELEC03 | CPT | HIST69X_FR | Energy Use MCC-69-1A | Total | Yesterday
322 | TRUE | SJ956902PWR_FR_KWHY | 95ELEC04 | CPT | HIST69X_FR | Energy Use MCC-69-1B | Total | Yesterday
323 | TRUE | SPRIMARYFLOW055FR | 13KBLD00 | SCADA Flow | HIST11K_F | Gross Influent Flow Unrounded | Total | Today
324 | TRUE | SPRIMARYFLOW061FR | 13KBLD00 | Flow Max | HIST11K_F | Plant Influent After Grit Removal Q Max | Maximum | Yesterday
325 | TRUE | SPRIMARYFLOW061FR | 13KBLD00 | Flow Min | HIST11K_F | Plant Influent After Grit Removal Q Min | Minimum | Yesterday